## Sheet1
Carbon Sink |  |  |  | Notes Format: Additional information, related info; Additional info; etc.
Tools | Item | Amount | Location | Notes
| Black/Red Toolchest | 1 | Next to wooden cabinets | Has a lot of the other tools within it
| Screwdrivers | 8 | Black/Red Toolchest Top Compartment | Various sizes
| Wrenches | 12 | Black/Red Toolchest Top Compartment | Size range: 5/8''- 17mm
| Drill bit sets | 4 | Black/Red Toolchest Drawer 1 | Various sizes; 1 bit missing from middle set
| Ratchets | 3 | Black/Red Toolchest Drawer 1,3 | Various sizes
| Long Ratchet Heads | 3 | Black/Red Toolchest Drawer 1,3
| Sets of ratchet heads | 12 | Black/Red Toolchest Drawer 1,2,3 | Various sizes
| Bag of Bolts | 1 | In Wooden Cabinet Third Shelf-2nd Panel | Contains about 12 bolts
| Razor blade | 1 | Laying free on large Air Science box
| Varying sized bolts | 2 | Laying free on large Air Science box
| Various nuts | Unknown | Scattered throughout Michael T's electrical component box
| Box of Sheet Metal Screws (10 x 3/4) | 1 | Michael T's Electrical Component box | 12 count; Reserved by Michael
| Box of Sheet Metal Screws (6 x 3/4) | 1 | Michael T's Electrical Component box | 20 count, 2 in box; Reserved by Michael
| Bag of Brace Screws | 1 | Behind pallets, by carbon buckets, in McMaster-Carr bag (Marked "For Tank Crates")
| Bag of large bolts | 1 | Next to brace screws bag
| 20 piece Hex Key set | 1 | Black/Red Toolchest Drawer 3 | Unopened
| Fin Hex Nut box | 1 | In box labeled "Small Parts for New VSA", by brace screws bag | opened; Size range: 3/8''-16mm
| Hex Cap Screw Box | 1 | In box labeled "Small Parts for New VSA" | opened; Size range: 3/8''-16mm
| Box of 3/8'' flat washers | 1 | In box labeled "Small Parts for New VSA" | opened
| Box of 3/8'' split lock washers | 1 | In box labeled "Small Parts for New VSA" | opened
Electronic Equipment | Item | Amount | Location | Notes
| Spool of Wire | 1 | On Air Science box | Used (reserved by Michael)
| Fuses | 3 | On Air Science box | Reserved by Michael; Possibly burned out
| Various wire strands | 4 | Michael T's Electrical Component box | Reserved by Michael
| Spool of small Green Wire | 1 | Michael T's Electrical Component box | Reserved by Michael
| Bag of No.3 MM Bushings | 1 | Michael T's Electrical Component box | 20 count; Reserved by Michael
| Black Custom Connector | 2 | 1 in Michael T's Electrical Component box, 1 attached to metal bar on Air Science box | Reserved by Michael
| Box of terminal rings | 1 | Michael T's Electrical Component box | 9 contained within packaging; box open; reserved by Michael
| Bags of terminal rings | 2 | Michael T's Electrical Component box | A large amount within the bag; reserved by Michael
| Battery backup | 1 | Underneath box labeled "Small Parts for New VSA", behind pallets
| Finder relay socket | 1 | In box labeled "Small Parts for New VSA", behind pallets
Miscellaneous Objects | Item | Amount | Location | Notes
| Kimtech Kimwipes | 1 | On metal table by sink | Box opened, half empty
| Clear Rubber tubing | 2 | On metal table by sink
| Black Microflex Gloves | 1 | Next to metal table by sink | Box opened, mostly empty
| Orange belt Clasps | 13 | Wooden Cabinet Top Shelf- first panel
| Orange belt clasp connectors | 7 | Wooden Cabinet Top Shelf- first panel
| Hardened US General Padlock/Keys | 1 | Wooden Cabinet Top Shelf- first panel
| Electropneumatic Gate Valve | 1 | Wooden Cabinet Top Shelf-second panel | Size not specified
| Packing tape | 1 | Wooden Cabinet Top Shelf- third panel
| 6'' Electropneumatic Gate Valve | 2 | Wooden Cabinet Second Shelf- first panel
| 4'' Electropneumatic Gate Valve | 2 | Wooden Cabinet Second Shelf-First Panel
| Huntington EV-150 Vacuum Valve | 1 | Wooden Cabinet Third Shelf- second panel
| AVAC system | 1 | Wooden Cabinet Third Shelf- second panel
| Empty plastic bottles | 3 | Wooden Cabinet Fourth Shelf-first panel
| Empty black glass bottle (red lid) | 1 | Wooden Cabinet Fifth Shelf-first panel
| Bottle of Vinegar | 1 | Wooden Cabinet Fifth Shelf-first panel | Half empty
| Stands (3-ton) | 2 | Wooden Cabinet Fifth Shelf-first panel
| Jug of "Colloidal Alumina Polishing Compound" (1 Gal) | 1 | Wooden Cabinet Fifth Shelf-second panel | Mostly full
| Jug of Methanol (4 L) | 1 | Wooden Cabinet Fifth Shelf-Second Panel | A little over half-empty
| Micro 9 Cleaning Solution (1 L) | 1 | Wooden Cabinet Fifth Shelf-Second Panel | In an open box
| Jug of Vacuum Pump Oil (1 gal) | 1 | Wooden Cabinet Fifth Shelf-Second panel | Mostly full
| Black glass jugs containing water | 3 | On ground next to Wooden Cabinet | Amount unknown (Size simply marked as 298%); marked as "Hazardous Waste"
| Flammable liquid container | 1 | In a black tub next to sink and cabinets | Empty
| Large carbon tanks | 2 | By VSA prototype
| Bottle of Clearglide lubricant | 1 | On Air Science box | Opened, Mostly full
| Buckets of Cleaned Carbon | 119 | Towards the back by the VSA prototype
| Wooden Pallets | 14 | Stacked behind fume hood, 1 in use to store Air Science box (see below)
| Black rubber sheet | 4 | On large Air Science box and on lid of carbon tank | Torn up
| Metal Disk (Bubble Wrapped) | 1 | Behind palets with bag of brace screws
| Box of black rubber tubing | 1 | On the floor next to metal cabinet
| Box containing screen mesh | 1 | On top of wood cabinet
| Small Table | 1 | In front of carbon cleaning sink
| Unit Strut Framing components | 14 | By hydraulic pumps
Lab Equipment | Item | Amount | Location | Notes
| Box of Vacuum Pump Control Instruments | 1 | On Air Science box | Contains 4 devices still wrapped; Marked as very fragile, so I did not open
| VSA prototype | 1 | In the back by carbon buckets
| Large box labeled "Air Science" | 1 | Next to the pallets and VSA | Unopened
| Fume hood | 1 | Behind Air Science box | Possibly broken or abandoned?
Gas Pumps
Tools | Item | Amount | Location | Notes
| Dewalt Heavy Duty Hammer Drill | 1 | Wooden Cabinet Second Shelf-Second Panel
| Set of drill bits | 1 | Wooden Cabinet Second Shelf-Second Panel | Bits scattered around shelf, set missing some bits
| Circular saw | 2 | Wooden Cabinet Third and Fifth Shelf-Second Panel | Latter in dark green Hitachi case (Maybe broken?)
| Shop vac | 1 | On floor in front of Gas Pumps
| Grinder blades | 14 | Wooden Cabinet Top Shelf-Second Panel | Various sizes;grinder is broken
| Jigsaw | 1 | Wooden Cabinet Top Shelf-Second Panel
| Black Bosch tool bag | 1 | Wooden Cabinet Top Shelf-Second Panel | Looks like a laptop bag;Empty
| Bimetal Hole Saw set | 1 | Wooden Cabinet Top Shelf-Second Panel | 14 pieces; Contains drill bit
| Bag of Screws | 2 | Wooden Cabinet Second Shelf-Second Panel | 1 Contains about 20-25 screws and bag appears to have been previously used for dust assay slides; 1 contains 11 screws and appears unopened
| Assorted Free Screws | ~20-30 | Wooden Cabinet Third Shelf-Second Panel | Many screws sitting free in shelf
| Hole saw chuck+blade | 1 | Wooden Cabinet Third Shelf-Second Panel
| Bolts with nuts and washers | 3 | Wooden Cabinet Second Shelf-First Panel
| Unit strut framing components | 4 | Wooden Cabinet Second Shelf-First Panel
| Metal tubing | 1 | Wooden Cabinet Second Shelf-First Panel | Used for gas pumping
| Pack of Hitachi Drill Bits | 1 | Wooden Cabinet Second Shelf-Second Panel | Contains 2 sets of drill bits, 1 set missing a bit
| Screwdriver | 1 | Wooden Cabinet Second Shelf-Second Panel | Has strange head, and two others like it in its base
| Bag containing screwdriver paraphernalia | 1 | Wooden Cabinet Second Shelf-Second Panel | Has a screw, a driver head, and a metal piece that might be a clasp of some sort
| Bag of Nuts, Bolts, and Washers | 1 | Wooden Cabinet Second Shelf-Third Panel | Has an assorted amount of each
| Bag of Bolts | 1 | Wooden Cabinet Second Shelf-Third Panel | Has 3 bolts
| Bag containing large drill-bit and connecting materials | 1 | Wooden Cabinet Third Shelf-Second Panel
| Awl | 1 | Wooden Cabinet Third Shelf-Second Panel
| Assorted Free Drill Bits | 2 | Wooden Cabinet Third Shelf-Second Panel
| Circular Saw Blade | 1 | Wooden Cabinet Third Shelf-Second Panel
| Craftsman Rotary Tool and associated pieces | 1 | Wooden Cabinet Third Shelf-Second Panel, in black canvas bag
| Hacksaw | 1 | On Wooden Crate frame left of gas pump panel
| Grinder | 1 | On Wooden Crate frame left of gas pump panel | Broken
| PVC straight piece | 1 | On Wooden Crate frame left of gas pump panel
| PVC connector piece | 1 | On Wooden Crate frame left of gas pump panel
| PVC curved piece | 1 | On Wooden Crate frame left of gas pump panel
| Scissors | 1 | On Wooden Crate frame left of gas pump panel
| Jigsaw blade packets | 2 | Wooden Cabinet Top Shelf-Second panel | Each packet contains 2 blades, however, one packet was opened and a blade is missing (3 blades total)
| 6'' dial caliper | 1 | On Wooden Crate frame left of gas pump panel, in black plastic case | Case labeled with "360271533" on bottom right corner
| Bag of T-Slot framing locks | 1 | On Wooden Crate frame left of gas pump panel in plastic McMaster-Carr ziploc bag | Contains 6 framing locks
| Bag of Black T-Slot framing screws | 1 | Wooden Cabinet Second Shelf-Third Panel, in McMaster-Car ziploc bag | Contains 5 screws
| Vacuum Pump Valve | 1 | On Wooden Crate frame left of gas pump panel
| Drill bit set | 1 | On Wooden Crate frame left of gas pump panel | Contains 29 pieces
| T-Slot Framing Stand | 1 | On Wooden Crate frame left of gas pump panel | Seems to a rudimentary stand, but for what purpose, I do not know
| Brass-Actuated On/Off Valve | 1 | On Wooden Crate frame left of gas pump panel | In small McMaster-Carr cardboard box
| Rubber tubing capped by metal | 1 | On Wooden Crate frame left of gas pump panel
| Free Bolts | 3 | On Wooden Crate frame left of gas pump panel | Varying sizes
| Free Washers | 5 | On Wooden Crate frame left of gas pump panel | Varying sizes
| Free Nuts | 2 | On Wooden Crate frame left of gas pump panel
| C-Clamps | 2 | 1 on Wooden Crate frame left of gas pump panel, 1 clamping a yellow post outside of Dr. Reichenbacher's clean tent
| Roll of thin metal | 1 | On Wooden Crate frame left of gas pump panel | Has numerous holes drilled into it
| Titanium Nitride End Mill Set | 1 | On Wooden Crate frame left of gas pump panel, in wooden box
| Swagelock Gas Pipe W/ Fittings Attached | 1 | On Wooden Crate frame left of gas pump panel, on top of T-Slot framing
| Bag of 1mm Diameter Tinned Spring Steel rods | 1 | On Wooden Crate frame left of gas pump panel
| Canister of Oatey All Purpose Cement | 1 | On small metal cabinet left of fire extinguisher
| 6 pc. Pittsburgh Pipe Tap and Die set | 1 | On Wooden crate frame left of gas pump panel
| Rolls of Clear Plastic Tubing | 4 | On Wooden Crate frame left of gas pump panel, in open carboard box
| Bag of Plastic Piping Components | 1 | On Wooden Crate frame left of gas pump panel, in open cardboard box | Contains large pieces and smaller connectors
| Auger Bit Set | 1 | On Wooden Crate frame left of gas pump panel | 6 pieces; Sizes: 1/4'', 3/8'', 1/2'', 5/8'', 3/4'', 1''
| Spade Bit Set | 1 | On Wooden Crate frame left of gas pump panel | 6 pieces; Sizes: 3/8'', 1/2'', 5/8'', 3/4'', 7/8'', 1''
| Swagelok Gas Valve | 1 | On small metal cabinet left of fire extinguisher
| Swagelok Fitting | 1 | On small metal cabinet left of fire extinguisher | In plastic bag
| Large Hitachi saw | 1 | On framing in front of Dr. Reichenbacher's clean tent
| Case of Tapping Dies | 1 | Wooden Cabinet Top Shelf-Second Panel | Contains many sizes of die
Computer Equipment | Items | Amount | Location | Notes
| Cruzer USB flashdrives- 16 GB | 5 | Wooden Cabinet Second Shelf-First Panel | Still in Packages
| Serial Cable Inputs | 3 | Wooden Cabinet Second Shelf-Third Panel
| Case for alarm system | 1 | Wooden Cabinet Second Shelf-Third Panel | In a bag labeled "Static Shielding"
Electrical Equipment | Items | Amount | Location | Notes
| Circuit box containing resistors | 1 | Wooden Cabinet Second Shelf-First Panel
| Spool of black wire | 1 | Wooden Cabinet Third Shelf-First Panel
| Ethernet Cable | 1 | Wooden Cabinet Top Shelf-First Panel
| Preamplifiers | 2 | Wooden Cabinet Top Shelf-First Panel, in box labeled "Betacage Preamps"
| ADCs (Analog-Digital Converters) | 3 | Wooden Cabinet Top Shelf-First Panel, in box labeled "Betacage ADCs"
| Power cord with serial output | 1 | Wooden Cabinet Top Shelf-Third Panel
| Spool of Copper Wire | 1 | Wooden Cabinet Third Shelf-First Panel
| Bag of Electrical Connectors | 1 | Wooden Cabinet Third Shelf-First Panel | Contains 8 connectors
| McMaster-Carr Bag containing Copper Wire | 1 | Wooden Cabinet Third Shelf-First Panel
| 1-2 outlet converter | 1 | Wooden Cabinet Third Shelf-Third Panel
| 1-3 outlet converter | 1 | Wooden Cabinet Third Shelf-Third Panel
| Surge Protectors | 2 | Wooden Cabinet Fourth Shelf-Second Panel
| Box of Electric Cables | 1 | Wooden Cabinet Fourth Shelf-Third Panel | Contains a numerous amount of cables
| Bag of Electric Cables | 1 | Wooden Cabinet Fourth Shelf-Third Panel | Contains 3 cables
| Rad7 Radon Detector | 1 | In box on floor in front of cabinets
| Charging Station | 1 | On Wooden Crate frame left of gas pump panel
| Par Type D Preamplifier | 1 | In metal cabinet | Possibly not in use
Lab Equipment | Item | Amount | Location | Notes
| Lab notebook | 1 | On Wooden Crate frame left of gas pump panel | Opened, contains writing about copper
Miscellaneous Items | Item | Amount | Location | Note
| Box of Black Microflex Gloves | 2 | 1 in Wooden Cabinet Top Shelf-First panel, 1 on Wooden Crate frame left of gas pump panel | Opened, mostly full
| Empty Plastic Bags | 7 | 3 in Wooden Cabinet Second Shelf-Third Panel, 4 on Wooden Crate frame left of gas pump panel
| Box of Kimtech Wipes | 1 | On Wooden Crate frame left of gas pump panel
| Adjustment tool | 1 | Wooden Cabinet Top Shelf-Second Panel
| Bag containing metal caps | 1 | Wooden Cabinet Top Shelf-Third Panel | Contains 4 caps
| Clear tube capped by blue foam blocks | 1 | Wooden Cabinet Top Shelf-Third Panel | Possibly a "Cooler"
| Gas Drying Units | 1 | Wooden Cabinet Second Shelf-First Panel
| 16'' Plastic slats | 9 | Wooden Cabinet Second Shelf-First Panel | I do not know the material these are made out of
| 19 3/4'' Plastic slats | 9 | Wooden Cabinet Second Shelf-First Panel | I do not know the material these are made out of
| Green Plastic Slats | 2 | Wooden Cabinet Second Shelf-First Panel
| O-Rings | 2 | Wooden Cabinet Third Shelf-Third Panel, in plastic bag
| Pair of White Gloves | 1 | On Wooden Crate frame on left side of gas pump panel
| Yellow Leather Gloves (individual) | 3 | On Wooden Crate frame on left side of gas pump panel
| Bottle of Isoproponal | 1 | On Wooden Crate frame on left side of gas pump panel | Half empty
| Bundle of Zipties | 1 | On Wooden Crate frame on left side of gas pump panel
| Fire extinguisher | 1 | Left of Gas Pump Panel
| Assorted Sharpies | 4 | Scattered on top of Wooden Crate frame left of gas pump panel | Varying colors
| Pen | 1 | On top of Wooden Crate frame left of gas pump panel
| Box of Zipties | 1 | On top of Wooden Crate frame left of gas pump panel, beneath cardboard box | Contains 7 varieties of zipties, sorted by color/length
| Bag of Black Zipties | 1 | On top of small metal cabinet to left of fire extinguisher
Shelves
Tools | Item | Amount | Location | Notes
| Heat gun | 1 | Blue Cabinet, Top Shelf | May be broken
| Crimping Tool | 1 | Blue Cabinet, Sixth Shelf
| Rolls of Nylon Rope | 3 | On top of Blue Cabinet
Electrical Equipment | Item | Amount | Location | Notes
| Ortec 142 Preamp | 1 | Blue Cabinet, Top Shelf
| Transducer Cable | 1 | Blue Cabinet, Top Shelf
| Bag of plugs | 1 | Blue Cabinet, Second Shelf | Contains ~7 plugs
| Power cord | 5 | Blue Cabinet, Second Shelf; Blue Cabinet, Third Shelf; Blue Cabinet, Fifth Shelf;Blue Cabinet, Sixth Shelf | 1 Fifth shelf cord is in cardboard box; Sixth Shelf Cord is frayed (May be broken)
| Power supply for convectron | 1 | Blue Cabinet, Third Shelf
| Multimeters | 2 | Blue Cabinet, Fourth Shelf
| Fluke 80K-6 HV Probe | 1 | Blue Cabinet, Fourth Shelf
| NanoVolt/MicroOhm Meter | 1 | Blue Cabinet, Fifth Shelf
| SR560 Preamplifier | 1 | Blue Cabinet, Fifth Shelf
| SA-915D1 DC Power Supply | 1 | Blue Cabinet, Fifth Shelf
| TI Digital Multimeter | 1 | Blue Cabinet, Fifth Shelf
Computer Equipment | Item | Amount | Location | Notes
| Webcam | 1 | Blue Cabinet, Top Shelf
| Cleanroom Laptop | 1 | Blue Cabinet, Bottom Shelf | In box
Lab Equipment | Item | Amount | Location | Notes
| Radon particle counter case | 1 | Grey Metal Cabinet, Top Shelf | Empty
| Radon Counter manual | 1 | Grey Metal Cabinet, Top Shelf
| Radon Counter software disk | 1 | Grey Metal Cabinet, Top Shelf
| Box of Clean Room Coveralls | 3 | Grey Metal Cabinet, Fourth Shelf; Grey Metal Cabinet, Fifth Shelf | All Unopened; 25 suits per case
| Bag of Clean Room Hats | 3 | Grey Metal Cabinet, Second Shelf | Amount unknown, Packed together tightly; Possibly opened (?)
| Bag of Beard Covers | 2 | Grey Metal Cabinet, Second Shelf | Amount unknown, Packed together tightly; Pretty sure they are unopened
| Cleanroom Entry Log | 1 | Grey Metal Cabinet, Third Shelf | I'm assuming this is what this is, as the only thing written in it is various times
| Ametek Silicon Charged Particle Detector | 1 | Grey Metal Cabinet, Third Shelf | Model No: CU-019-300-AS; Biased at 50 V
| Lab notebook | 1 | Grey Metal Cabinet, Third Shelf | Mentions Cirlex Samples
| Box of Microscope Slides | 1 | Grey Metal Cabinet, Third Shelf | Appears to be unopened
| Box marked "Flanges for RGA" | 1 | Grey Metal Cabinet, Fourth Shelf | Opened; Marked for Dr. So
| Bag marked "Parts for Wire Rack in Anteroom" | 1 | Grey Metal Cabinet, Fourth Shelf | Unopened
| Visors | 2 | Grey Metal Cabinet, Fourth Shelf
| Package of Microflex Glove boxes | 1 | Grey Metal Cabinet, Fourth Shelf | Contains 10 boxes; Each box contains 100 pairs of gloves
| Old Filter Box and Components | 1 | Blue Metal Cabinet, Top Shelf
| Atmosphere-Vacuum Transducer | 1 | Blue Metal Cabinet, Top Shelf
| 900 Series Transducer Communication Converter | 1 | Blue Metal Cabinet, Top Shelf | From VGA to USB
| 901B Loadlock Transducer | 1 | Blue Metal Cabinet, Top Shelf
| Vacuum Pressure Transducer | 1 | Blue Metal Cabinet, Top Shelf | Marked as "Not Functioning" in 2015
| Series 900 Controllers | 2 | Blue Metal Cabinet, Top Shelf
| Box marked "Heating Tape" | 1 | Blue Metal Cabinet, Top Shelf | Unopened
| Box containing Gas apparatus | 1 | Blue Metal Cabinet, Top Shelf | Unopened
| Cardboard tube marked "Heat Sealer Repair" | 1 | Blue Metal Cabinet, Top Shelf | Unopened?
| Box marked Rad7 Printer Paper | 1 | Blue Metal Cabinet, Top Shelf | Opened; Contains spools of printer paper
| Bag of Rad7 Parts | 2 | Blue Metal Cabinet, Second Shelf | 1 Marked as containing 2 sets of parts
| Box containing New Rad7 Tubing | 1 | Blue Metal Cabinet, Second Shelf
| Box Containing Used Rad7 Tubing | 1 | Blue Metal Cabinet, Second Shelf
| Box Containing Rad7 Filters and Fillings | 1 | Blue Metal Cabinet, Second Shelf
| Plastic tube containing Omega Wire | 1 | Blue Metal Cabinet, Second Shelf | In a cardboard box
| White box marked with Omega label | 1 | Blue Metal Cabinet, Second Shelf | In a cardboard box
| Bag containing Plastic tubing | 1 | Blue Metal Cabinet, Second Shelf | In a cardboard box
| Plastic tubing | 1 | Blue Metal Cabinet, Second Shelf | In a cardboard box
| Rad Aqua apparatus | 1 | Blue Metal Cabinet, Second Shelf | In a cardboard box
| Gas Drying Apparatus | 1 | Blue Metal Cabinet, Second Shelf | In a cardboard box
| Black Plastic Cases | 3 | Blue Metal Cabinet, Second Shelf
| Black Plastic and Metal Cases | 3 | Blue Metal Cabinet, Second Shelf
| Dissertations or Theses | ~6 | Blue Metal Cabinet, Second Shelf | 3 in a bag
| Gas valves | 3 | Blue Metal Cabinet, Third Shelf
| Clasps and Clamps | 3 | Blue Metal Cabinet, Third Shelf
| Micro Gas Pump | 1 | Blue Metal Cabinet, Third Shelf | Marked as rated for 6 V; In McMaster-Carr bag
| KF50 Vat Valve | 1 | Blue Metal Cabinet, Third Shelf | In box; Unopened
| Large Glass Bowl with plastic bottom | 1 | Blue Metal Cabinet, Third Shelf
| Box of Iwaki Magnet Pumps | 1 | Blue Metal Cabinet, Third Shelf | Opened; Still In box
| Pair of Cryo Gloves | 1 | Blue Metal Cabinet, Third Shelf
| Box containing Pressure Relief System | 1 | Blue Metal Cabinet, Third Shelf | Opened
| Glass Air Feed Throughs | ~10 | Blue Metal Cabinet, Fourth Shelf
| Hamamatsu Photonics Case | 1 | Blue Metal Cabinet, Fourth Shelf | Opened; Empty
| Metal Rod | 1 | Blue Metal Cabinet, Fourth Shelf | in bag
| Binder taped to various packages | 1 | Blue Metal Cabinet, Fourth Shelf | Binder contains book marked with Stanford University Engineering Systems
| Extech Equipment Case | 1 | Blue Metal Cabinet, Fifth Shelf | Case contains most of its components; Thermologger outside
| Extech Thermologger | 1 | Blue Metal Cabinet, Fifth Shelf | In leather case; This is the piece that was missing from the Extech Component Case
| Scout Pro 200 g scale | 1 | Blue Metal Cabinet, Fifth Shelf
| Micron Measurement device | 1 | Blue Metal Cabinet, Fifth Shelf
| Tektronics Digital Phosphor Oscilloscope | 1 | Blue Metal Cabinet, Fifth Shelf | Couldn't open case to see what it was
| Old Dewar | 1 | Blue Metal Cabinet, Bottom Shelf
| Pelouze Scale | 1 | Blue Metal Cabinet, Bottom Shelf | 68 kg Capacity
| Cole Palmer Stirrer | 1 | Blue Metal Cabinet, Bottom Shelf
| Mettler AE 200 Shaker | 1 | Blue Metal Cabinet, Bottom Shelf
Miscellaneous Items | Item | Amount | Location | Notes
| Bag of Berkshire Polyester cloths | 1 | Grey metal cabinet, Second shelf
| Purple pack of Kimtech Wipes | 1 | Grey metal cabinet, second shelf | Unopened; 40 count
| Package of Bemcot M-3II wipes | 1 | Grey metal cabinet, second shelf | Unopened; 100 count
| Water spray bottles | 2 | Grey Metal cabinet, third shelf | 1 empty, 1 mostly full
| Bag containing "Dirty Slides" | 2 | Grey Metal cabinet, third shelf | Both dated from July 2016; Marked by Patrick
| Black metal tablet (?) | 1 | Grey metal cabinet, third shelf | Has holes drilled into it
| Package from SatPax | 1 | Grey metal cabinet, third shelf | Unopened
| Clean Room Booties (Lying Free) | 2 | Grey Metal cabinet, third shelf | Used?
| Box containing booties | 1 | Grey metal cabinet, third shelf | Unknown how many it contains
| Black Plastic Wrenches (?) | 2 | Blue Metal Cabinet, second shelf | 1 Marked as Drierite W1
| Long Black Plastic Case | 1 | Blue Metal Cabinet, fourth shelf | Empty except for 2 heads to whatever tool used to be in there
| Paint Cans | 2 | Blue Metal Cabinet, Fifth Shelf | In Cardboard box
| Black Plastic box | 1 | Blue Metal Cabinet, Fifth Shelf | Marked "Hanna"
| Pressure Cooker | 1 | Blue Metal Cabinet, Bottom Shelf
Blue Toolbox
Tools | Item | Amount | Location | Notes
| Bag of bolts | 2 | Blue Toolbox 1st Drawer;Blue Toolbox 3rd Drawer
| Large bolts | 4 | Blue Toolbox 1st Drawer | In a bag; Blue plastic tops
| Strands of Yellow Plastic Tubing | 5 | Blue Toolbox 2nd Drawer | Seems a little dirty
| Roll of Black Plastic Tubing | 1 | Blue Toolbox 2nd Drawer
| Roll of Clear Plastic Tubing | 6 | Blue Toolbox 2nd Drawer
| Roll of Blue Plastic Tubing | 1 | Blue Toolbox 2nd Drawer
| Roll of Norprene Tubing | 1 | Blue Toolbox 2nd Drawer
| Pack of Hose Clamps | 1 | Blue Toolbox 2nd Drawer | 40 piece; Size Range: 1/2''-3/2''
| Various Hose Clamps | 14 | Blue Toolbox 2nd Drawer | Laying free; seem to have been used; might be broken
| Plastic Pneumatic Coupling Hardware | 12 | Blue Toolbox 3rd Drawer | Have various different ends and attachments
| Metallic Pneumatic Coupling Hardware | Unknown | Blue Toolbox 3rd Drawer | I estimate the total pieces to be between 30 and 50; Varying sizes
| 2-Claw clamps | 4 | Blue Toolbox 3rd Drawer
| Bag of plastic nuts and washers | 2 | Blue Toolbox 5th Drawer
| Bag of bolts with clamps | 1 | Blue Toolbox 5th Drawer | Contains 4 bolts
Electrical Equipment | Item | Amount | Location | Notes
| Dymo Label Maker | 1 | On top of blue toolbox
| Box of Batteries | 2 | On top of blue toolbox | Both opened; some batteries laying on top of toolbox
| Battery Charging pack | 1 | On top of blue toolbox
| Electrical Tape | 1 | On top of blue toolbox | About half used
| Katko Manual Controller | 1 | Blue Toolbox 6th Drawer
| Electric On-Off Dial | 1 | Blue Toolbox 6th Drawer
Lab Equipment | Item | Amount | Location | Notes
| Lab notebooks | 2 | On top of blue toolbox | In a stack
| Flowmeters | 4 | Blue Toolbox 1st Drawer
| Bag of Plastic T-Slot connectors | 2 | Blue Toolbox 1st Drawer
| Plastic T-Slot Connectors | Unknown | Scattered throughout Blue Toolbox 1st Drawer
| Metallic T-Slot Connectors | ~10 | Scattered throughout Blue Toolbox 1st Drawer | Orange plastic caps, shaped like a rod
| Bag containing Packets of Small, black T-Slot bolts | 1 | Blue Toolbox 1st Drawer | Contains 6 packets
| Bag of Black Plastic Connectors | 1 | Blue Toolbox 1st Drawer | Contains 6 packets
| Plastic Caps | Unknown | Scattered throughout Blue Toolbox 1st Drawer | Varying size and color
| Copper Gaskets | 3 | In bags in Blue Toolbox 1st Drawer
| Packets of Metallic Gaskets | 6 | Blue Toolbox 1st Drawer;Blue Toolbox 3rd Drawer | In Drawer 1, Each Pack contains 8 gaskets, except for 2 open ones which both have 4; Drawer 3 has a pack of 2
| Bag of used gaskets | 1 | Blue Toolbox 1st Drawer | Usable?
| Packet of Large, black T-Slot bolts | 7 | Blue Toolbox 1st Drawer
| Bag of Large, black T-Slot bolts | 2 | Blue Toolbox 1st Drawer | Contains a lot of bolts
| Hexagonal T-Slot Slats | 4 | Blue Toolbox 1st Drawer; Blue Toolbox 6th Drawer | Hexagonal in the sense that they have six sides, they do not look like standard hexagons
| Rectangular T-Slot Slat | 1 | Blue Toolbox 1st Drawer
| Gas pump(?) in bag | 1 | Blue Toolbox 1st Drawer | In bag with wire lead
| Packet of SS VCR Gasket | 1 | Blue Toolbox 1st Drawer | Contains 1 gasket
| Gas valve | 10 | Blue Toolbox 1st Drawer; Blue Toolbox 2nd Drawer; Blue Toolbox 3rd Drawer; Blue Toolbox 4th Drawer
| Bag of KF 40 and 50 O-Rings | 1 | Blue Toolbox 3rd Drawer | Contains 6 rings
| Bag of Large, Metal O-Rings | 1 | Blue Toolbox 3rd Drawer | Contains 2 Rings
| Bag of Used or Damaged O-Rings | 1 | Blue Toolbox 3rd Drawer
| Medium Sized Metal O-Rings | 4 | Blue Toolbox 3rd Drawer
| Bag of 3.35'' O-Rings (Rubber) | 1 | Blue Toolbox 3rd Drawer | Contains 2 Rings; Marked "New"
| Medium KF Fittings | 7 | Blue Toolbox 3rd Drawer | Some of them have covers on them
| Large KF Fittings | 1 | Blue Toolbox 3rd Drawer
| Small KF Fittings | 1 | Blue Toolbox 3rd Drawer
| 4-Way Fitting | 1 | Blue Toolbox 3rd Drawer | Ends capped in red plastic
| Bag of Small Rubber O-Rings | 2 | Blue Toolbox 3rd Drawer | 1 bag contains 14 rings, the other has 1
| KF 25 Fittings | 5 | Blue Toolbox 3rd Drawer
| Edwards Fitting | 1 | Blue Toolbox 3rd Drawer | Same Size as KF 25
| Small Vices | 2 | Blue Toolbox 3rd Drawer | Capped in red plastic
| L-Shaped Swagelock Valve | 1 | Blue Toolbox 3rd Drawer | Capped in blue plastic; marked for cleanroom
| HPS Clamps | 2 | Blue Toolbox 3rd Drawer | 2 Different sizes
| Box Containing 1/4'' Diaphragm 5Ra finish and 1/4'' M VCR Ends | 1 | Blue Toolbox 3rd Drawer | Unopened
| Swagelock Diaphragm | 1 | Blue Toolbox 3rd Drawer | In bag; with instructions
| Bag of Swagelock Gas Valves | 2 | Blue Toolbox 3rd Drawer
| Brass Swagelock Gas Valve | 1 | Blue Toolbox 3rd Drawer
| Metal Fitting | 1 | Blue Toolbox 4th Drawer | Attached to metal tubing
| Metal Tubing Laying Free | ~30 | Blue Toolbox 4th Drawer
| Bags of Metal Tubing | 3 | Blue Toolbox 4th Drawer
| Compression Fitting Connections | Unknown | Scattered throughout Blue Toolbox 4th Drawer
| Bag containing Red plastic cap, tweezers, and metal hooks | 1 | Blue Toolbox 5th Drawer | Contains 4 hooks
| Blue rubber hose | 1 | Blue Toolbox 5th Drawer | Possibly unusable or garbage
| Bag containing Black Plastic Pipe connectors | 1 | Blue Toolbox 5th Drawer | Contains 4 connectors
| Black Plastic Pipe (Straight) | 4 | Blue Toolbox 5th Drawer
| Black Plastic Pipe (Other) | 4 | Blue Toolbox 5th Drawer | Variety of Shapes
| Clear Plastic Pipe (Straight) | 2 | Blue Toolbox 5th Drawer | One connected to a valve
| T-Slot Framing Components | 7 | Blue Toolbox 6th Drawer; Blue Toolbox Bottom Drawer | Varying Sizes
| Rolls of Plastic Sheets | 2 | Blue Toolbox 6th Drawer
| PVC Connector Pieces with Black rings | 5 | Blue Toolbox 6th Drawer
| Roughing Pump Exhaust Fixture | 1 | Blue Toolbox 6th Drawer
| Filter with Mesh | 1 | Blue Toolbox 6th Drawer
| Large Ribbed Plastic Tubing (Separate pieces) | 11 | Blue Toolbox Bottom Drawer
| Coils of Ribbed Plastic Tubing | 3 | Blue Toolbox Bottom Drawer
Computer Equipment | Item | Amount | Location | Notes
| Chamjin Wireless Printer | 1 | On top of blue toolbox
Miscellaneous | Item | Amount | Location | Notes
| Box of Swiffer heads | 1 | On top of blue toolbox | Opened; about half empty
| Can of WD40 | 1 | On top of blue toolbox | Half empty
| Roll of tape | 1 | On top of blue toolbox | Empty
| Plastic syringe | 1 | On top of blue toolbox | In McMaster-Carr bag
| Empty plastic jugs | 2 | On top of blue toolbox
| Aerobed HB55100b Mattress Inflator | 1 | On top of blue toolbox
| Impulse Sealer | 1 | On top of blue toolbox
| Whiteboard Eraser | 1 | On top of blue toolbox
| Dry Erase Markers | 3 | On top of blue toolbox | Varying Colors
| Plastic Pipe | 1 | Blue Toolbox 1st Drawer
| Plastic Pipe end | 1 | Blue Toolbox 1st Drawer | Has a fairly sizable notch taken out of it
| Black Foam Tube | 1 | Blue Toolbox 2nd Drawer
| Plastic Sticks | 2 | Blue Toolbox 2nd Drawer | Have Papers attached to the end
| Spool of Nylon Thread | 1 | Blue Toolbox 2nd Drawer | In bag
| Pink rope | 1 | Blue Toolbox 2nd Drawer | Frayed
| Metal Cube with threading cut into it | 1 | Blue Toolbox 5th Drawer | Seems like a strange thing to have
| Copper Slat | 1 | Blue Toolbox 5th Drawer
| 6''x6''x3/32'' FEP Sheet | 1 | Blue Toolbox 5th Drawer
| Straight Copper Pipes | 2 | Blue Toolbox 5th Drawer
| L-Shaped Copper Pipe | 1 | Blue Toolbox 5th drawer
| Threaded Metal Bars | 8 | Blue Toolbox 5th Drawer
| Black Plastic Slat | 1 | Blue Toolbox 5th Drawer
| Metal Pipe | 1 | Blue Toolbox 5th Drawer | Has L-Shaped Connector
| Finned Metal Slats | 5 | Blue Toolbox 5th Drawer | Has fin down the middle
| Plastic Connector Piece | 1 | Blue Toolbox 5th Drawer
| PVC Pipe | 3 | Blue Toolbox 5th Drawer | 1 Bent in different directions, 1 L-shaped
| PVC pipe with valve | 1 | Blue Toolbox 5th Drawer | Old, chunk missing; Broken?
| Metal Disk | 1 | Blue Toolbox 5th Drawer | Hole in the middle
| Metal platform | 1 | Blue Toolbox 5th Drawer | Fin on the side
| Wooden Block | 1 | Blue Toolbox 5th Drawer
| Black Plastic Platform | 1 | Blue Toolbox 5th Drawer
| Metal container | 1 | Blue Toolbox 5th Drawer | Commonly used in restaurants
| Black plastic brick | 2 | Blue Toolbox 5th Drawer | 1 Perforated and larger than the other 1
| Rusted Copper Slats | 2 | Blue Toolbox 5th Drawer | In bag with a bunch of small black plastic rings
| Long Metal Slats | 3 | Blue Toolbox 6th Drawer | Has ends that curve up
| Black Rubber Sheets | Unknown | Blue Toolbox 6th Drawer | Torn up into a lot of pieces
Red Toolbox
Tools | Item | Amount | Location | Notes
| Bag of Bolts, Nuts, and Washers | 1 | Black Box 1st Drawer | Small Bolts
| Assorted Bolts | Unknown | Black Box 2nd Drawer | Varying Sizes
| Assorted Screws | Unknown | Black Box 2nd Drawer | Varying Sizes
| Metallic Clips | Unknown | Black Box 2nd Drawer
| Bag of Washers | 1 | Black Box 2nd Drawer
| Assorted Plastic Bolts | Unknown | Black Box 2nd Drawer | Hollow Center
| Assorted Hollow Metal Bolts | Unknown | Black Box 3rd Drawer | Swagelock Related
| Assorted Ferrules | Unknown | Black Box 3rd Drawer
| Assorted Flange Nuts | Unknown | Black Box 4th Drawer
| Assorted Flange Bolts | Unknown | Black Box 4th Drawer | Have Different Heads
| Bag of Swagelock Hardware | 2 | Black Box 4th Drawer | One Marked as being "Potentially Used Previously"
| Bag of 2.75'' CF Flange Bolts | 2 | Black Box 4th Drawer | 1 Marked as "Too Long", 1 Marked as "New"
| Threaded bits of Metal | 4 | On Top of Red Toolbox | 1 Bent
| Measuring Tape Rolls | 2 | In Drawer Marked "Measuring Devices"
| Fowler Micrometer | 1 | In Drawer Marked "Measuring Devices"
| Stanley Fatmax Power Supply (?) | 1 | In Drawer Marked "Measuring Devices"
| Irwin Strait-Line | 1 | In Drawer Marked "Measuring Devices"
| Large Red Wire-Cutters | 1 | In Drawer Marked "Cutting Tools"
| Blue Wire Crimpers | 1 | In Drawer Marked "Cutting Tools" | Only to be used on copper wire
| Yellow Wire Crimpers | 1 | In Drawer Marked "Cutting Tools"
| Black Scissors | 1 | In Drawer Marked "Cutting Tools"
| Small Stainless Steel Scissors | 5 | In Drawer Marked "Cutting Tools"
| Ridgid 35s Stainless Steel Tubing Cutter | 1 | In Drawer Marked "Cutting Tools"
| Razor Knife | 1 | In Drawer Marked "Cutting Tools"
| Orange Fiskar Clippers | 1 | In Drawer Marked "Cutting Tools"
| Pack of Ridgid E635 Cutting Wheels | 1 | In Drawer Marked "Cutting Tools" | Contains 2 wheels; unopened
| Pack of Utility Knife Blades | 1 | In Drawer Marked "Cutting Tools" | Contains 10 blades; unopened
| Ridgid No. 10 Steel Tubing Cutter | 1 | In Drawer Marked "Cutting Tools"
| Black Plastic Spatulas | 2 | In Drawer Marked "Cutting Tools" | Varying Sizes
| Forceps | 2 | In Drawer Marked "Cutting Tools"
| Free Rectangular Razor Blades | 2 | In Drawer Marked "Cutting Tools"
| Free Trapezoidal Razor Blades | 2 | In Drawer Marked "Cutting Tools"
| Box of Stainless Steel Rectangular Razor Blades | 1 | In Drawer Marked "Cutting Tools" | Contains 100 blades; unopened
| Roll of Heating Tape | 2 | In Drawer Marked "Tape" | Not very adhesive…
| Small Rolls of Scotch Tape | 1 | In Drawer Marked "Tape"
| Rolls of Masking Tape | 4 | In Drawer Marked "Tape"
| Roll of Electrical Tape | 2 | In Drawer Marked "Tape"
| Roll of Orange Scotch Tape | 1 | In Drawer Marked "Tape"
| Rolls of Plumbers Tape | 6 | In Drawer Marked "Tape"
| Roll of Magnetic Tape | 1 | In Drawer Marked "Tape"
| Roll of 3M Scotch-Seal 2229 | 1 | In Drawer Marked "Tape" | In Box; Unopened
| Rolls of Plastic Wrap | 3 | In Drawer Marked "Tape" | Come on a spool
| Bags of Hallmerman-Tyton Zip Ties | 2 | In Drawer Marked "Zip Ties" | 50 piece; 1 mostly empty, 1 unopened
| Bag of Long, Black Zip Ties | 1 | In Drawer Marked "Zip Ties" | Opened
| Slotted Screwdrivers | 7 | In Drawer Marked "Screwdrivers/Allen Wrenches" | Varying Sizes
| Phillips Screwdrivers | 3 | In Drawer Marked "Screwdrivers/Allen Wrenches" | Varying Sizes
| Eechnik Needle Nose Pliers | 1 | In Drawer Marked "Screwdrivers/Allen Wrenches"
| Set of Metric Blue Allen Wrenches | 1 | In Drawer Marked "Screwdrivers/Allen Wrenches" | Size Range: 1.5-10; Size #6 is missing
| Set of Bondhus Allen Wrenches | 1 | In Drawer Marked "Screwdrivers/Allen Wrenches" | Size Range: 1/16-3/8
| Free Allen Wrenches | 4 | In Drawer Marked "Screwdrivers/Allen Wrenches"
| Set of Accu-min Slotted Screwdrivers | 1 | In Drawer Marked "Screwdrivers/Allen Wrenches" | 6 Pieces
| Ratchet Heads | 2 | In Drawer Marked "Screwdrivers/Allen Wrenches" | Varying Sizes
| Brush | 1 | In Drawer Marked "Screwdrivers/Allen Wrenches" | Used
| Awl | 1 | In Drawer Marked "Screwdrivers/Allen Wrenches"
| 15'' Adjustable Wrench | 1 | In Drawer Marked "Wrenches"
| 10'' Adjustable Wrench | 1 | In Drawer Marked "Wrenches"
| 15/16 Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| File | 3 | In Drawer Marked "Wrenches"
| Pittsburgh Adjustable Wrench | 1 | In Drawer Marked "Wrenches"
| 11/16 Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| 3/4 Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| Vise-Grip | 1 | In Drawer Marked "Wrenches"
| 9/16 Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| Dual-Sided Ratchet | 1 | In Drawer Marked "Wrenches"
| 1/2 Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| Impact Driver Bit Set | 1 | In Drawer Marked "Wrenches"
| 1/4 Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| 9/16 Black Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| 7/8 Black Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| 1/2 Black Crescent Wrench | 1 | In Drawer Marked "Wrenches"
| Set of Ratchets | 1 | In Drawer Marked "Wrenches" | In Red Package
| Set of Wrenches | 1 | In Drawer Marked "Wrenches" | In Blue Package
| Claw Hammer | 1 | In unmarked Drawer
| Level | 1 | In unmarked Drawer
| Crowbar | 2 | In unmarked Drawer
| Ridgid Measuring Tool (Two-Handles) | 1 | In unmarked Drawer
| Klein Grip-It | 1 | In unmarked Drawer
| Case of 12'' 24 TPI Hacksaw blades | 1 | In unmarked Drawer | 50 Count; opened
| Case of 12'' 18 TPI Hacksaw blades | 1 | In unmarked Drawer | 10 count; opened
| Dasco Pro Drift Punch | 1 | In unmarked Drawer
| Crescent Ratchets | 2 | In unmarked Drawer
| Crescent Ratchet heads | 2 | In unmarked Drawer
| Rubber Mallet | 1 | In unmarked Drawer
Electrical Equipment | Item | Amount | Location | Notes
| 1-2 Electrical Plug | 1 | On Top of Red Toolbox
| Spool of Wire | 1 | In Drawer Marked "Cutting Tools"
| Car Charger | 1 | In Drawer marked "Large Diameter Vacuum Equip"
Computer Equipment | Item | Amount | Location | Notes
| Keyboard | 2 | In drawer marked "Cables and Computer Equipment"
| Dell Soundbar Speaker | 1 | In drawer marked "Cables and Computer Equipment"
| VGA-VGA cable | 1 | In drawer marked "Cables and Computer Equipment"
| Power Cable | 1 | In drawer marked "Cables and Computer Equipment"
| Dell Laptop Charger | 1 | In drawer marked "Cables and Computer Equipment"
| Dell Wired Mouse | 1 | In drawer marked "Cables and Computer Equipment"
| Molex 1-2 DVI cable | 2 | In drawer marked "Cables and Computer Equipment"
| Serial Cable | 1 | In drawer marked "Cables and Computer Equipment"
Lab Equipment | Item | Amount | Location | Notes
| Assorted Swagelock Connectors | Unknown | Black Box Drawer 3 | Come in many shapes (Linear, T-Shaped, 4-headed)
| Swagelock Gas Valves | 2 | Black Box Drawer 3
| Swagelock Fittings | 2 | Black Box Drawer 3
| Case of Micrometers | 1 | On Top of Red Toolbox | Contains 3 Micrometers; Different Sizes
| Small Laser | 1 | In unmarked Drawer
| Mitigation Pumps connecting Bellows | 1 | In Drawer marked "Large Diameter Vacuum Equip"
| Plastic FVCR | 1 | In Drawer marked "Large Diameter Vacuum Equip" | Taped
| 3 1/2'' Cushioned Clamps | 2 | In Drawer marked "Large Diameter Vacuum Equip"
| 3 '' Cushioned Clamps | 3 | In Drawer marked "Large Diameter Vacuum Equip"
| 1 1/2'' Cushioned Clamp | 1 | In Drawer marked "Large Diameter Vacuum Equip"
| Free Clamp Components | Unknown | In container in Drawer marked "Large Diameter Vacuum Equip"
Miscellaneous | Item | Amount | Location | Notes
| Box of Staples | 1 | On top of Black Box | 5000 count; Opened
| Bag possibly containing indium metal | 1 | Black Box 1st Drawer | Marked "Indium?"
| Assorted Rubber Stoppers and Caps | Unknown | Black Box 2nd Drawer
| Assorted Plastic Stoppers and Caps | Unknown | Black Box 2nd Drawer
| Flashlight | 1 | On Top of Red Toolbox
| Spray Bottle of Super Air Filter Adhesive | 1 | On Top of Red Toolbox | Half Empty
| Ghost Duster Whiteboard Eraser | 2 | In Drawer Marked "Measurement Devices"
| Assorted Pens and Sharpies | 25 | In Drawer Marked "Measurement Devices"
Alpha-Counter/BetaCage Workspace
Tools | Items | Amount | Location | Notes
| MDC Clamp | 6 | 1 On Shelf by BetaCage, 2 in Top Drawer next to Betacage; 3 in Top drawer next to Alpha Counter
| Needle-Nose Pliers | 1 | On top of Resistor box
| Razor Blade | 4 | On top of Resistor box; On top of metal desk
| Roll of Electrical Tape | 1 | Inside bottom resistor box
| L-Shaped Pipe | 1 | Top drawer next to Betacage
| Packets of Screws | 3 | 4th Drawer Next to Betacage; 4th Drawer next to Alpha Counter
| Packs of Wire Brads | 2 | Top Drawer next to Alpha Counter | Opened
| Metal Clips | 5 | Top Drawer next to Alpha Counter
| Bolts | 2 | Top Drawer next to Alpha Counter
| Packs of Cage Nuts | 3 | Top Drawer next to Alpha Counter | 1 only contains 1 nut
| Box of Bolts | 1 | Top Drawer next to Alpha Counter | Opened
| Bag of Large Screws | 1 | Top Drawer next to Alpha Counter
| Small Screws | 22 | Top Drawer next to Alpha Counter | Free in the drawer
| Bag of small nails | 1 | Top Drawer next to Alpha Counter
| Bag of Medium Screws | 1 | Top Drawer next to Alpha Counter | Contains 6 screws
| Bag containing long metal screws and clasps | 1 | Top Drawer next to Alpha Counter | Opened
| Bag containing polyethylene offset hangar | 1 | Top Drawer next to Alpha Counter
| Bag containing pickup talons | 1 | Top Drawer next to Alpha Counter
| Assorted Bolts | unknown | Second Drawer next to Alpha Counter; Third Drawer next to Alpha Counter | Varying sizes
| Assorted Nuts | Unknown | Second Drawer next to Alpha Counter; Third Drawer next to Alpha Counter | Varying sizes
| Assorted Washers | unknown | Second Drawer next to Alpha Counter; Third Drawer next to Alpha Counter | Varying sizes
| Pulleys | 3 | Third Drawer next to Alpha Counter
| Springs | 5 | Third Drawer next to Alpha Counter
| Metal Framing Components | Unknown | Third Drawer next to Alpha Counter | Varying Sizes
| Bag of Threaded Metal and Plastic | 1 | 4th Drawer next to Alpha Counter
| Ring Clamp | 1 | 4th Drawer next to Alpha Counter
| Plastic Tubing capped w/ metal | 2 | 4th Drawer next to Alpha Counter | In bag
| Metal Hooks | 4 | 4th Drawer next to Alpha Counter | In bag
| Large Box of Washers | 1 | 5th Drawer next to Alpha Counter | Opened
| Bag of Washers | 2 | 5th Drawer next to Alpha Counter | Opened; 2 different sizes
| Large Box of Bolts | 1 | 5th Drawer next to Alpha Counter | Opened
| Large Box of Nuts | 1 | 5th Drawer next to Alpha Counter | Opened
| Large Box of Screws | 1 | 5th Drawer next to Alpha Counter | Opened
| Pack of Bolts and Fastenings | 1 | In box on top of metal desk
| Rack Bolt Measuring Tool | 1 | In box on top of metal desk
| Pack of Cage Nuts | 1 | In box on top of metal desk | 50 count; opened
| Pack of Rack Rail Screws and Washers | 2 | In box on top of metal desk | 25 count; both opened, 1 mostly empty
| Pack of Thoriated Weld Tips | 2 | On top of Metal Desk
| Metal Boxes (Possibly used for Electric Purposes) | 2 | On top of Metal desk | 1 marked "Bad ???"
| Masterforce Impact Driver Bit Set | 1 | On top of Metal Desk | Size range: 1/16''-3/8''
| Bosch Impact Driver | 1 | On top of metal desk
Electrical Equipment | Item | Amount | Location | Notes
| Soldering Iron | 2 | 1 By BetaCage Computer, 1 in top drawer next to Betacage
| Bag of Lead-Free Solder | 2 | On desk between BetaCage Computer and Alpha Counter Detector
| Spool of Acid-Work Lead-Free Solder | 1 | On top of box of Resistor Components
| Spool of Solder w/ Lead | 1 | Next to Container of Resistors
| Phone | 1 | Next to Alpha Counter and Alpha Counter Computer
| 1-2 Electrical input/output | 1 | On top of box of Resistor Components | Has red/black ports
| 976 kilOhm Resistors | 14 | In compartment of Resistor Box | Poorly marked in my opinion
| 1 MOhm Resistors | ~54 | In compartment of Resistor Box | Poorly marked in my opinion
| 2 MOhm Resistors | ~47 | In compartment of Resistor Box | Poorly marked in my opinion
| 100 KilOhm Resistors | 10 | In compartment of Resistor Box | Poorly marked in my opinion
| 101 KilOhm Resistors | 20 | In compartments of Top and Bottom Resistor Boxes | Completely unmarked
| 10 MOhm Resistors | ~60-80 | In compartment of Resistor Box
| 15 MOhm Resistors | ~40 | In compartment of Resistor Box
| 20 MOhm Resistors | ~35 | In compartment of Resistor Box
| 33 MOhm Resistors | ~30 | In compartment of Resistor Box
| 1000 MOhm Resistors | 17 | In compartments of Top and Bottom Resistor Boxes
| Thin Electrical Connectors | 8 | In compartments of bottom resistor box
| Thick Electrical Connectors | 11 | In compartments of bottom resistor box
| Wire Strands | 8 | In compartments of bottom resistor box; 4th drawer next to Betacage
| Ground Wire strands | 5 | In compartments of bottom resistor box
| Multi-Headed Electrical Connectors | 6 | In compartments of bottom resistor box
| B-Jack Tin Banana Mount panel package | 1 | In compartment of bottom resistor box | 10 piece; opened; contains 7 pieces
| Long, Straight, Electrical Connector | 1 | In compartment of bottom resistor box
| 1 nF Capacitor | 1 | Next to Resistor boxes
| Bag of Capacitors | 1 | 2nd Drawer next to Betacage | Contains 9 Capacitors; Varying Capacitances
| Fuse Blocks | 2 | 2nd Drawer next to Betacage
| Pack of 49.9 Ohm Resistors | 1 | 2nd Drawer next to Betacage
| Pack of 5.11 KilOhm Resistors | 1 | 2nd Drawer next to Betacage
| Pack of 20 Kilohm Resistors | 1 | 2nd Drawer next to Betacage
| Pack of 1 MicroFarad Capacitors | 1 | 2nd Drawer next to Betacage
| Pack of 20 Ohm Resistors | 1 | 2nd Drawer next to Betacage
| Pack of 10 Ohm Resistors | 1 | 2nd Drawer next to Betacage
| Pack of 100 Ohm Resistors | 1 | 2nd Drawer next to Betacage | Opened
| Pack of 2.11 Kilohm Resistors | 1 | 2nd Drawer next to Betacage
| Pack of 49.9 Kilohm resistors | 1 | 2nd Drawer next to Betacage
| Pack of 1.5 Kilohm resistors | 1 | 2nd Drawer next to Betacage
| Pack of 499 Ohm Resistors | 1 | 2nd Drawer next to Betacage
| Pack of 10 Kilohm resistors | 1 | 2nd Drawer next to Betacage
| Bag of unknown small components | 1 | 2nd Drawer next to Betacage | Look like resistors or capacitors
| Small Orange Terminal Blocks | 9 | 2nd Drawer next to Betacage
| Omron Automation Relay | 1 | 2nd Drawer next to Betacage
| Roll of Blue Wire | 1 | 2nd Drawer next to Betacage
| Large fuses | 5 | 2nd Drawer next to Betacage | May be burned out?
| Assorted coils of water | Unknown | 2nd Drawer next to Betacage
| Tektronix Probes | 4 | 3rd Drawer next to Betacage | I assume they are probes
| Pack of Serial Cables | 1 | 3rd Drawer next to Betacage | Contains 2 Cables
| Oscilloscope Passive Probe | 1 | 3rd Drawer next to Betacage
| Multi-Gain Preamp | 1 | 3rd Drawer next to Betacage
| Bag Containing WingGard twist-on wire protectors | 1 | 3rd Drawer next to Betacage | 10 piece; opened
| Bag containing Ultra Hex-Lock twist on wire protectors | 1 | 3rd Drawer next to Betacage | 15 piece; unopened
| Package containing Wire Rings | 1 | 3rd Drawer next to Betacage | 100 count; unopened
| Bag containing Ultra WingGard Twist-on Wire Protectors | 1 | 3rd Drawer next to Betacage | 25 count; opened
| Box of Wirenut Wire Connectors | 1 | 3rd Drawer next to Betacage | 100 count; opened
| White Plastic Circuit House | 2 | 3rd Drawer next to Betacage
| Ohmite Gauge | 1 | 3rd Drawer next to Betacage
| Breadboard | 1 | 3rd Drawer next to Betacage
| Pack of Vector 6.5'' Extensions | 1 | 3rd Drawer next to Betacage | 44 count; unopened
| Box Containing Wire Caps | 2 | 3rd Drawer next to Betacage
| Tail Pulse Generator | 1 | 4th Drawer next to Betacage
| Various Power Cables | 5 | 4th Drawer next to Betacage
| DVI Cable | 1 | 4th Drawer next to Betacage
| Digital Scale Adapter | 1 | 4th Drawer next to Betacage
| Spools of Wire | 15 | 4th Drawer next to Betacage | In varying stages of use
| Ultrasonic Cleaned Wire | 1 | 4th Drawer next to Betacage | Bagged in Cleanroom
| Circuit Boards | 3 | 4th Drawer next to Betacage | In static-resistant bags
| Ground Braid | 1 | 5th Drawer next to Betacage | Marked "Trash or Ground Braid"
| Packet of Slats and Wires | 1 | 4th Drawer next to Alpha Counter | In bag
| Plastic Wire Block | 2 | 4th Drawer next to Alpha Counter | In bag
| Box of Electrical Cables | 1 | On top of metal desk | Open; Marked "BetaCage Cables"
| Omegalux Banded Cable | 1 | On top of metal desk
| Ground Cable | 1 | 5th Drawer next to Betacage
| EVGA 500 BQ 500 W Power Supply | 1 | On top of metal desk
| Pfeiffer Vacuum Hi-Cube Power Cord | 1 | On top of metal desk | In bag
Computer Equipment | Item | Amount | Location | Notes
| Geiger Counter Laptop | 1 | "Roving"; Will be apparently stored here | Used for Geiger Counter for Davis-Bahcall
| Desktop Towers | 2 | 1 By Betacage, 1 by Alpha Counter
| Dell Monitor | 2 | 1 By Betacage, 1 by Alpha Counter
| Keyboard | 2 | 1 By Betacage, 1 by Alpha Counter
| Mouse | 2 | 1 By Betacage, 1 by Alpha Counter
| USB Drive | 1 | On Shelf by Betacage
| D-Link Router | 1 | 4th Drawer by Betacage
| SATA Splitter Power Cable | 1 | 4th Drawer by Betacage
| Disk Drive | 1 | 4th Drawer by Betacage
| Bag of Computer Cables | 1 | 4th Drawer by Betacage | Has a variety of cable types
| Serial-USB cable | 2 | On top of Metal Desk
| Ethernet Cables | 8 | In box on top of Metal Desk | Still in boxes
| Serial-Serial Cables | 4 | On metal desk | 2 still in bags, 1 stripped
| Pfeiffer Vacuum Guage Cable Digiline | 1 | On metal desk | Still in bag
Lab Equipment | Item | Amount | Location | Notes
| BetaCage | 1 | In the back, in a black cabinet | Contains a large amount of electrical equipment
| Vacuum Chamber | 1 | On a shelf by the Betacage
| Alpha Counter Pump | 1 | On a shelf by the Betacage | Maybe not in use?
| Lab Notebooks | 5 | 2 by Betacage computer, 3 by Alpha Counter Computer
| Alpha Counter Detector | 1 | On far-side of Desk
| Ametek Ion-Implanted Silicon Charged-Particle Detector | 1 | On top of Resistor Box | Marked with "Detector #2"
| Small Metal Box (Electrical) | 1 | On top of Resistor Box | Possible old filter box? Opened up and is filled with resistors
| Package of Spring Steel | 1 | In top drawer next to BetaCage | 100 count; unopened
| Strip of Velcro | 1 | In top drawer next to BetaCage | Unopened
| Box of Wire Strips | 1 | In top drawer next to BetaCage
| Bubble-Wrapped Components | 3 | 4th Drawer Next to Betacage
| BetaCage Cryocooler | 1 | Underneath Desks | In box
| Box of Run Printouts | 1 | On top of desk, next to Alpha Counter Computer
| CO2 Meter | 1 | On top of metal desk
| Omega Industrial Air Monitor | 1 | On top of Metal Desk | Seems to be in a state of dissembly
| Branson 1510 Ultrasonic Cleaner | 1 | On top of metal desk
| Hi-Q Air Particle Sampler | 1 | On top of metal desk
| Syracuse Rad7 Detector | 1 | On top of metal desk
| Boxes of Air Filters | 4 | On top of metal desk | 1 opened; marked "used"
| Wix SV 300B Filters | 2 | On top of metal desk
| Pfeiffer Vacuum Hi-Cube | 1 | On top of metal desk
| Geiger Counters | 2 | On top of metal desk | To be used for Davis-Bahcall Program
| Pfeiffer Vacuum Cube Cable | 1 | On top of metal desk | In bag
| Pfeiffer Vacuum Cube Instructions | 1 | On top of metal desk | In bag
| Pfeiffer Vacuum Pirani/Cold Cathode Guage | 1 | On top of metal desk | Unopened; still in box
| Roll of Plastic Tubing | 1 | On top of metal desk
Miscellaneous | Item | Amount | Location | Notes
| Spray bottle of Water | 1 | On Shelf by BetaCage | Half full; Marked as "Tap H2O"
| Box of Kimtech Kimwipes | 2 | On shelf by Betacage; On top of metal desk | 280 count and 196 count; opened
| Textbooks | 7 | On Shelf by Betacage | Topics: Differential Equations, Fundamental Physics, Optics, Solid State Physics, Thermal Sciences
| Plastic Tube Containing Marked Metal Slats | 1 | On Shelf by BetaCage | Has 2 slats; Slats Marked with "SS-20111009-04" and "SS-20111009-05"
| "Helping Hands" Soldering Tool | 1 | Next to Alpha Counter | Holding a Magnifying Glass
| Bag of small, white, square plastic slats | 1 | In top drawer next to BetaCage | Opened
| Springs | 5 | In top drawer next to BetaCage | Varying sizes
| Bag of springs | 1 | In top drawer next to BetaCage | Spring seems to be broken
| Black Plastic Electrical Plugins | ~17 | In top drawer next to BetaCage
| Bag of Copper Wool | 2 | In top drawer next to BetaCage | One bag contains much less than the other
| Masses | 2 | 3rd Drawer next to BetaCage | Varying Masses
| Packet containing 3-sided enclosure cart assembly | 1 | 4th Drawer next to Betacage | Opened; possibly missing most of its parts
| Box of NTE Heat Shrink Tubing | 2 | 5th Drawer next to Betacage | Opened
| Strands of NTE Heat Shrink Tubing | 2 | 5th Drawer next to Betacage
| 20 Amp 208 V Power Cable | 1 | 5th Drawer next to Betacage
| 20 Amp 220 V Power Cable | 1 | 5th Drawer next to Betacage
| Spool of Power Cable | 1 | 5th Drawer next to Betacage
| Orange Plastic Tubing | 1 | 5th Drawer next to Betacage
| Envelope marked "For Floor Track" | 1 | Top Drawer Next to Alpha Counter
| Strips of Holed Metal | 7 | 4th Drawer next to Alpha Counter
| L-Shaped Metal Struts | 2 | 4th Drawer next to Alpha Counter | 1 seems damaged
| Copper Metal Framing Slats | 2 | 4th Drawer next to Alpha Counter
| Metal Disks | 8 | 4th Drawer next to Alpha Counter
| Thick Braided Wire | 1 | 4th Drawer next to Alpha Counter
| Copper Brick | 1 | On top of metal desk in glass pan
| Spray bottle of Isopropanol | 1 | On top of metal desk | Mostly empty
White Cabinet
Tools | Item | Amount | Location | Notes
| Roll of Polyken Foilmastic Sealant | 1 | White Cabinet Top Shelf
| Rolls of Heat Tape | 2 | White Cabinet Top Shelf
| Sealant Guns | 2 | On top of White Cabinet | 1 has sealant canister, 1 empty
| Rolls of Painter's Tape | 4 | White Cabinet Top Shelf
| Rolls of Aluminum Foil Tape | 2 | White Cabinet Top Shelf
| Gutter/Foundation Sealant Canisters | 2 | On top of White Cabinet | 1 in gun
| Varian Applicator Gun | 1 | White Cabinet Fourth Shelf in Tupperware Container
| Torr Seal Epoxy | 1 | White Cabinet Fourth Shelf in Tupperware Container
| Varian Torr Seal Replacement Mixers | 3 | White Cabinet Fourth Shelf in Tupperware Container
| Large Plastic Syringes | 6 | White Cabinet Fourth Shelf
| Bags of Grey Plastic Rods | 2 | White Cabinet Fourth Shelf in Tupperware Container | 1 mostly empty
Electrical Equipment | Item | Amount | Location | Notes
| Power Cord | 1 | White Cabinet Sixth Shelf
Lab Equipment | Item | Amount | Location | Notes
| Radon Emanation Copper O-Rings | 11 | White Cabinet Top Shelf | Some in bag
| Lab Notebooks | 8 | White Cabinet Second Shelf
| Manuals | 7 | White Cabinet Second Shelf | Topics: ONU Climate, Swagelok Tube Fitters Manual, Pastenerck Engineering References, Syracuse MSDS, Radiation Protection Program Handbook, PDG Particle Physics
| Dow Corning High Vacuum Grease | 3 | White Cabinet Third Shelf | 1 tube opened, half empty
| Bottle of Ideal Vacseal | 1 | White Cabinet Third Shelf | Half empty
| N Grease High Vacuum Grease | 1 | White Cabinet Third Shelf | Unopened
| Leland Air Sampling Pump | 1 | White Cabinet Third Shelf
| Cans of Lord Epoxy Adhesive | 2 | White Cabinet Third Shelf
| Gorilla Epoxy | 2 | White Cabinet Third Shelf
| Ace Tub and Tile Sealant | 1 | White Cabinet Third Shelf
| Ace Silicone Tub and Tile Sealant | 1 | White Cabinet Third Shelf
| Box of Scopettes 16'' Comfort Tip Applicators | 1 | White Cabinet Third Shelf | Opened;100 count
| Box of SA High Quality Carbon | 1 | White Cabinet Fourth Shelf
| Tupperware Container of Calgon Activated Carbon | 1 | White Cabinet Fourth Shelf
| Container of Beard Covers | 1 | White Cabinet Fourth Shelf
| Calgon Carbon Samples | 2 | White Cabinet Fourth Shelf | 1 mostly empty
| Gas Valve | 1 | White Cabinet Fourth Shelf
| Bottles of Isopropyl Alcohol | 2 | White Cabinet Sixth Shelf | 1 half empty
| Gallon Jug of Citranox | 1 | White Cabinet Sixth Shelf
| Gallon Jug of Distilled Water | 1 | White Cabinet Sixth Shelf | Half Empty
| Empty Bottles | 5 | White Cabinet Sixth Shelf
| Bottle of ClearGlide Lubricant | 1 | White Cabinet Sixth Shelf
| Canister of Duster Compressed Air | 1 | White Cabinet Sixth Shelf | Mostly Empty
| Canister of Liquid Wrench Penetrating Oil | 1 | White Cabinet Sixth Shelf
| Jar of Aluminum Anti-Seize Lubricant | 1 | White Cabinet Sixth Shelf | Half Empty
| Cartons of Alconox | 2 | White Cabinet Sixth Shelf
| Magic Stainless Steel Cleaner | 1 | White Cabinet Sixth Shelf
| Red and Tacky EP Grease | 1 | White Cabinet Sixth Shelf
| Box of Maas Metal Polish | 1 | White Cabinet Sixth Shelf
| Jar of Cape Cod Metal Polish | 1 | White Cabinet Sixth Shelf | Mostly Empty
| Spray Bottle of Windex | 1 | White Cabinet Sixth Shelf | Mostly Empty
| Container of Drierite Dessicant | 1 | White Cabinet Sixth Shelf | A little over half empty
| Empty Glass Jars | 2 | White Cabinet Sixth Shelf
| Spill Kit | 1 | White Cabinet Sixth Shelf | In box (unopened?)
| Gas Pump | 1 | White Cabinet Sixth Shelf
Miscellaneous | Item | Amount | Location | Notes
| Hardhat | 1 | White Cabinet Top Shelf
| Packs of Nitrile Sleeves | 2 | White Cabinet Top Shelf | Unopened
| Boxes of Black Microflex Gloves | 3 | White Cabinet Second Shelf | 1 opened
| Boxes of Nuisance Dust Masks | 2 | White Cabinet Second Shelf | 50 count; Both opened
| Safety Goggles | 4 | White Cabinet Second Shelf
| Safety Glasses | 3 | White Cabinet Second Shelf
| Roll of String | 1 | White Cabinet Second Shelf
| Pair of Mechanix Gloves | 1 | White Cabinet Second Shelf
| Pairs of Yellow Rubber Gloves | 2 | White Cabinet Second Shelf
| Pack of Static Sealant Bags | 1 | White Cabinet Second Shelf | Unopened
| Clipboard | 1 | White Cabinet Second Shelf | Contains info about Regulations regarding toxic chemicals
| D Batteries | 4 | White Cabinet Third Shelf
| 23A Batteries | 2 | White Cabinet Third Shelf
| Clear Plastic Funnels | 4 | White Cabinet Third Shelf
| Black Plastic Funnel | 1 | White Cabinet Third Shelf
| 300 Ml Beaker | 1 | White Cabinet Third Shelf
| 500 Ml Beaker | 2 | White Cabinet Third Shelf
| Hazardous Waste Jars | 3 | White Cabinet Third Shelf
| Sponges | 4 | White Cabinet Fourth Shelf In Tupperware Container
| Toothbrush | 1 | White Cabinet Fourth Shelf In Tupperware Container
| 500 ml graduated cylinder | 1 | White Cabinet Fourth Shelf
| 1000 ml beakers | 2 | White Cabinet Fourth Shelf
| Plastic bottle | 1 | White Cabinet Fourth Shelf | In bag; marked "Blucker GMBH"; may be empty
| Strainer | 1 | White Cabinet Fourth Shelf
| Threaded Plastic Bars | 9 | White Cabinet Fifth Shelf
| Roll of Green Seran Wrap | 1 | White Cabinet Fifth Shelf
| Assorted Plastic Bags | Unknown | White Cabinet Fifth Shelf | Bound Together in large ball
| Rolls of Vinyl Replacement Sweeps | 9 | White Cabinet Fifth Shelf
| Wheels | 8 | White Cabinet Fifth Shelf
| Roll of Black Rubber Tubing | 4 | White Cabinet Fifth Shelf; White Cabinet Sixth Shelf
| Large Roll of Black Vinyl | 1 | White Cabinet Sixth Shelf
| Broom | 1 | In between White Cabinet and Blue Toolbox
| Dust pan | 1 | In between White Cabinet and Blue Toolbox
| Small Red Duster | 1 | In between White Cabinet and Blue Toolbox
| Swiffer Sweeper | 1 | In between White Cabinet and Blue Toolbox
| Roll of Black Plastic Mesh | 1 | In between White Cabinet and Blue Toolbox
| Red Plastic Lids | 32 | In between White Cabinet and Blue Toolbox in cardboard box
| Clear Plastic Lids | 7 | In between White Cabinet and Blue Toolbox in cardboard box
| Green Plastic Lid | 1 | In between White Cabinet and Blue Toolbox in cardboard box
| White Plastic Lids | 2 | In between White Cabinet and Blue Toolbox in cardboard box
| Metal Panels | ~25 | In between White Cabinet and Blue Toolbox in cardboard box
Radon Emanation System/Radon Detection Chamber
Tools | Item | Amount | Location | Notes
| PVC Pipes | 5 | In metal tube behind white cabinet
| Copper Pipe | 1 | In metal tube behind white cabinet
| Metal Pipe | 2 | In metal tube behind white cabinet
| Dolly | 1 | Between white cabinet and radon emantation chamber
| Adixen Vacuum Pump | 1 | On cart between white cabinet and radon emanation chamber | Unopened; in black bag
| Free Allen Wrenches | 4 | Next to Radon Emanation System Detector
| Razor blade | 1 | Next to Radon Emanation System Detector
| T-Slot Framing Components | 2 | Top Shelf next to Radon Emanation System Chamber
Electrical Equipment | Item | Amount | Location | Notes
| Large Yellow Power Cord | 1 | Behind large white cabinet
| Keithley Model 248 HV Supply | 1 | By Radon Emanation system computer | Appears to not be in use
| Bertran Model 375X HV Supply | 1 | Above Radon Emanation system computer monitor | Appears to not be in use
| Ortec 419 Precision Pulse Generator | 1 | Above Radon Emanation system computer monitor
| Bertran Model 380N HV Supply | 2 | Above Radon Emanation system computer monitor; below Radon Monitor Chamber
| Ortec Model 575A Amplifier | 1 | Above Radon Emanation system computer monitor
| Ortec Model 142 AH Preamp | 1 | Bound to Radon Emanation Filter Box
| Tripp-Lite Isolation Transformer | 2 | Below Radon Emanation System Computer; by Radon Monitor Chamber
| Sox Vacuum Pump | 1 | Below gas pumps
| Canister of Compressed Helium | 1 | Next to Radon Emanation System Chamber
| Canister of Compressed Nitrogen | 1 | Next to Radon Emanation System Chamber
| Power Designs Inc. 50 V Power Supply | 1 | Next to Radon Monitor Detector
| CC 4429 8 Channel Amplifier | 1 | Below Radon Monitor Chamber
Computer Equipment | Item | Amount | Location | Notes
| Monitor | 2 | 1 by Radon Emanation Detector, 1 by Radon detection chamber
| Computer Tower | 2 | 1 by Radon Emanation Detector, 1 underneath Radon monitor
| Keyboard | 2 | 1 by Radon Emanation Detector, 1 by Radon detection chamber
| Mouse | 2 | 1 by Radon Emanation Detector, 1 by Radon detection chamber
Lab Equipment | Item | Amount | Location | Notes
| Lab notebooks | 3 | By Radon Emanation system computer
| Tektronix 3014B Oscilloscope | 1 | Above Radon Emanation system computer
| Tektronix 3101 Arbitrary Channel/Function Generator | 1 | Above Radon Emanation system computer
| Radon Emanation System Detector | 1 | Below Emanation Gas Pumps
| Radon Emanation Filter Box | 1 | Next to Detector | Soon to be replaced
| Radon Emanation Vacuum Pumps | 1 | Above Detector
| Dewar Lift | 1 | Next to detector
| A User's Guide to Vacuum Pump Technology | 1 | Next to Detector
| Box of clean-room hats | 1 | 2nd shelf Next to Radon Emanation Chamber | Opened
| Box of clean-room suits | 2 | 2nd shelf Next to Radon Emanation Chamber; 4th Shelf next to Radon Emanation Chamber | Opened
| Box of small clean-room gloves | 1 | 3rd shelf next to Radon Emanation Chamber | Opened; not many left
| Box of Medium Clean-room gloves | 1 | 3rd shelf next to Radon Emanation Chamber | Opened
| Box of XL Clean-room gloves | 1 | 3rd shelf next to Radon Emanation Chamber | Opened
| Box of beard-covers | 1 | 3rd shelf next to Radon Emanation Chamber | Opened
| Radon Emanation Sign-in logbook | 1 | 4th shelf next to Radon Emanation Chamber | Has not been updated in a while
| Box of blue clean-room hats | 1 | 4th shelf next to Radon Emanation Chamber | Opened; mostly empty
| Box of plastic wrap | 1 | 4th shelf next to Radon Emanation Chamber | Opened
| XDS 5 Vacuum Pump | 1 | 6th shelf next to Radon Emanation Chamber
| Pairs of Cryo Gloves | 2 | Next to Radon Emanation Detector
| Radon Monitor Chamber | 1 | On metal desk
| Canister of Liquid Nitrogen | 1 | Next to old VSA room
Miscellaneous | Item | Amount | Location | Notes
| Step-Ladders | 2 | Behind white cabinet
| Phone | 1 | By Radon Emanation System Detector
| Box of Kimtech Kimwipes | 1 | 5th shelf by Radon Emanation Chamber | Opened; 196 Count
VSA Room
Tools | Item | Amount | Location | Notes
| Assorted Nuts, Bolts, and Washers | Unknown | In beaker on General Air Products Apparatus
| 1000 mL beakers | 3 | On top of General Air Products Apparatus; in box under General Air Products Apparatus
| Roll of Polyken Foilmastic Sealant | 1 | On top of General Air Products Apparatus | Mostly used
| Plastic Funnel | 1 | In box under General Air Products Apparatus
| Plastic Tubing | 1 | In box under General Air Products Apparatus
| Foam Tube | 1 | In box under General Air Products Apparatus
Electrical Equipment | Item | Amount | Location | Notes
Computer Equipment | Item | Amount | Location | Notes
| Dell Computer Monitor | 1 | On top of VSA
| Dell computer tower | 1 | On top of VSA
| Keyboard | 1 | With VSA
| Mouse | 1 | With VSA
Lab Equipment | Item | Amount | Location | Notes
| Old VSA | 1 | In center of room | In the process of being replaced
| Large Carbon Tanks | 2 | On both sides of VSA
| Rad7 Particle Detectors | 2 | On left and right sides of room | Collecting Data
| Lab Notebooks | 2 | On top of General Air Products Apparatus
| WIX SV 300B Filter | 1 | On top of General Air Products Apparatus | Unopened
Miscellaneous | Item | Amount | Location | Notes
| Box of Microflex Gloves | 1 | On top of General Air Products Apparatus | 100 count; mostly empty