## 460-Present
Run	Pre-bkg	Post-bkg	Sample name	Em. chamber	Em. start	Transfer start	Sample Data Start	Pre-bkg Data Start	Post-bkg Data Start	Report completed or in progress by	More Info (Logbook #, p###)	Notes
461	460	462	LZ Getter 1	portable	08/29/18 15:22	09/17/18 16:38	09/21/18 23:14	09/17/18 5:37	09/23/18 3:29	November 2018; John H
463	462	464	Axon cables (batches 2 &3) 1	large level 2 stand	09/12/18 17:10	09/23/18 16:10	09/23/18 23:01	09/23/18 3:29	09/27/18 21:27	Februry 2019; John H
465	464	466	Solder 1	small	09/17/18 23:09	09/29/18 16:31	09/29/18 18:01	09/27/18 21:27	10/04/18 17:44
467	466	468	Axon cables (batches 2 &3) 2	large level 2 stand	09/23/18 22:54	10/04/18 14:00	10/04/18 21:19	10/04/18 17:44	10/10/18 7:05	Februry 2019; John H
469	468	470	Solder 2	small	09/29/18 17:32	10/10/18 15:44	10/10/18 17:08	10/10/18 7:05	10/15/18 11:19
471	470	0 (472?)	LZ Getter 2	portable	09/17/18 18:19	10/16/18 13:39	10/16/18 20:01	10/15/18 11:19	10/20/18 3:42	November 2018; John H
473	472	474	Aluminun 1 (130 ft^2 of Al foil)	small	10/19/18 19:43	10/26/18 15:19	10/26/18 16:45	10/20/18 3:42	10/30/18 2:07
474	0	0	Background fixed filterbox	none	0	7.37E+05	10/30/18 14:07					???
478	477	479	Sensors 1	large	10/26/18 3:07	11/04/18 17:54	11/05/18 1:28	11/03/18 7:06	11/08/18 14:28	January 2019; John H
480	479	481	Sensors 2	large	11/05/18 1:29	11/14/18 12:01	11/14/18 20:32	11/08/18 14:28	11/18/18 2:02	January 2019; John H
483	482	484	Aluminun 2	small	11/03/18 18:40	11/21/18 15:59	11/21/18 17:35	11/19/18 5:23	11/25/18 19:49
485	484	486	Sensors 3	large	11/14/18 20:33	11/27/18 14:20	11/27/18 23:15	11/25/18 19:49	12/1/18 6:20	January 2019; John H
487	486	488	O-rings 1 (for ICV emanation)	small	11/27/18 12:06	12/04/18 17:43	12/04/18 19:20	12/1/18 6:20	12/08/18 10:56	Nic
489	488	490	Sensors 4	large	11/27/18 22:39	12/10/18 13:19	12/10/18 20:50	12/08/18 10:56	12/14/18 11:41	January 2019; John H
491	490	492	LZ Test cryostat	portable	12/06/18 21:05	12/17/18 17:25	12/18/18 0:57	12/14/18 11:41	12/21/18 14:12	Februry 2019; John H
493	492	494	O-rings 2	small	12/04/18 19:13	12/27/18 17:38	12/27/18 19:19	12/21/18 14:12	1/1/19 6:13	Nic
495	494	496	PEEK 1	large	12/21/18 20:07	01/03/19 17:49	01/04/19 13:31	1/1/19 6:13	01/08/19 4:55	Februry 2019; John H
497	496	498	O-rings 3	small	12/27/18 19:12	01/10/19 13:39	01/10/19 15:51	01/08/19 4:55	01/14/19 12:34	Nic
499	498	500	PEEK 2	large	01/04/19 12:57	01/16/19 12:07	01/17/19 3:17	01/14/19 12:34	01/20/19 19:47	Februry 2019; John H
502	501	503	ICV 1	portable	01/15/19 16:30	01/24/19 19:10	01/25/19 5:16	01/22/19 17:22	01/29/19 15:53	May 2019; John H
504	503	505	PEEK 3	large	01/17/19 3:15	01/31/19 13:01	02/01/19 0:46	01/29/19 15:53	02/05/19 12:25	Februry 2019; John H
506	505	507	O-rings 4	small	01/10/19 15:46	02/07/19 18:30	02/07/19 20:12	02/05/19 12:25	02/11/19 12:39	Nic
508	507	509	ICV 2	portable	02/08/19 18:40	02/13/19 12:15	02/14/19 0:40	02/11/19 12:39	02/20/19 15:43	May 2019; John H
510	509	511	ICV 3	portable	02/19/19 21:38	02/22/19 12:00	02/22/19 21:26	02/20/19 15:43	02/26/19 3:43	May 2019; John H
512	511	513	LZ 1 inch PMTs	large 2 stand	02/20/19 11:07	02/28/19 11:25	02/28/19 18:09	02/26/19 3:43	03/04/19 15:34	June 2019; John H
514	513	515	ICV plumbing blank 1	portable	02/28/19 18:00	03/06/19 13:40	03/06/19 19:54	03/04/19 15:34	03/10/19 7:02	May 2019; John H
516	515	517	Feedthroughs 1	small	02/26/19 17:03	03/12/19 14:45	03/12/19 16:18	03/10/19 7:02	03/16/19 1:46
518	517	519	ICV plumbing blank 2	portable	03/06/19 14:20	03/18/19 15:30	03/18/19 21:58	03/16/19 1:46	03/20/19 13:09	May 2019; John H
520	519	521	Portable carbon trap	portable	03/21/19 14:00	03/22/19 16:09	03/22/19 17:55	03/20/19 13:09	03/26/19 12:48
522	521	523	Teflon offcuts	large	03/20/19 18:47	03/28/19 14:06	03/28/19 19:51	03/26/19 12:48	04/04/19 17:21	June 2019; John H
524	523	0 (525?)	Feedthroughs 2	small	03/12/19 15:49	04/04/19 14:15	04/04/19 16:00	04/04/19 17:21	04/08/19 10:28
526	525	529 (?)	Xe tower 1 (full)	portable	04/02/19 15:50	04/09/19 12:10	04/09/19 21:20	04/08/19 10:28	04/21/19 6:20	Nic		Run 527 and 528?
530	529	531	Red silicone 1	small	04/16/19 13:30	04/23/19 13:37	04/23/19 15:04	04/21/19 6:20	04/27/19 20:26
532	531	533	Cables with connectors 1	large	04/18/19 17:33	04/29/19 12:57	04/29/19 20:17	04/27/19 20:26	05/02/19 6:19	June 2019; John H
534	533	535	Xe tower 2 (subcooler)	portable	04/30/19 14:00	05/02/19 11:01	05/04/19 12:06	05/02/19 6:19	05/10/19 13:44	Nic
536	535	537	Cables with connectors 2	large	04/29/19 20:13	05/10/19 12:55	05/10/19 20:02	05/10/19 13:44	05/14/19 11:17	June 2019; John H
538	537	0 (539?)	Red silicone 2	small	05/06/19 12:13	05/16/19 13:15	05/16/19 14:43	05/14/19 11:17	05/20/19 17:14			Sample run is very noisy
540	539	541	Xe tower 3 (weir reservoir)	portable	05/21/19 13:20	05/23/19 12:25	05/23/19 20:05	05/20/19 17:14	05/27/19 11:58	Nic
542	541	543	Anti-radon film 1	small	05/22/19 17:37	05/30/19 16:05	05/30/19 17:21	05/27/19 11:58	06/03/19 17:56
544	543	546	LEC blank	large	05/30/19 14:40	06/05/19 15:23	06/05/19 23:20	06/03/19 17:56	06/18/19 23:50	Seth
545	543	546	Xe tower 4 (full w/ LPM)	portable	06/07/19 13:00	06/11/19 13:00	06/11/19 21:39	06/03/19 17:56	06/18/19 23:50	Nic
547	546	548	Anti-radon film 2	small	05/30/19 17:14	06/18/19 17:13	06/18/19 20:03	06/18/19 23:50	06/22/19 ????
549	548	550	LEC blank	large	06/05/19 11:15	06/24/19 13:45	06/24/19 20:50	06/22/19 ????	06/28/19 ????	Seth
551	550	552	Anti-radon film 3	small	06/18/19 18:27	07/01/19 17:13	07/01/19 18:51	06/28/19 ????	07/05/19 9:42
555	554	556	Xe tower 5	portable	07/16/19 15:30	07/22/19 11:00	07/22/19 21:10	07/22/19 22:21	07/29/19 10:09	Nic
557	556	560	ICV w/o TPC	portable	07/26/19 21:45	07/31/19 12:40	08/01/19 1:33	07/29/19 10:09	08/19/19 3:34	Nic
558	556	560	ICV w/o TPC + pylon	small	0	08/08/19 12:26	08/08/19 16:30	07/29/19 10:09	08/19/19 3:34	Nic
559	556	560	ICV w/o TPC + pylon + filter	none	0	08/08/19 12:26	08/15/19 19:41	07/29/19 10:09	08/19/19 3:34	Nic		There are two different analysis scripts for this run
561	560	562	LEC blank 1 (after wipedown)	large	08/01/19 17:22	08/21/19 15:21	08/21/19 23:32	08/19/19 3:34	08/25/19 23:08	Seth	Emanation VII, p89
563	562	564	ICV O-rings 1 (temp; replaced ICV helicoflex)	small	08/20/19 18:24	08/27/19 16:47	08/27/19 20:07	08/25/19 23:08	09/03/19 13:25	Nic
565	564	0 (566?)	LEC blank 2 (after wipedown)	large	08/21/19 23:16	09/05/19 13:45	09/05/19 21:03	09/03/19 13:25	09/09/19 11:55	Seth
567	566	568	ICV O-rings 2, filtered	small	09/03/19 13:01	9/11/19 18:20	09/11/19 21:46	09/09/19 11:55	09/16/19 10:41	Nic	Emanation VII, p96
569	568	570	LEC blank 3 (after wipedown)	large	09/10/19 22:30	09/18/19 10:24	09/19/19 14:30	09/16/19 10:41	09/22/19 23:11	Seth; none needed (bad run)		John notes that this run is 'probably usless' Rate is ~ 2 mBq, way too high for a blank run. Must have leaked someting somehow.
571	570	572	ICV transfer bellows	none	09/19/19 13:30	09/24/19 17:25	09/24/19 23:00	09/22/19 23:11	09/28/19 18:28	Nic		Bellows connected directly to the emanation panel via CES hookups. Filled at PSL w/He and sealed on September 19, 2019 at 2:30p (Central)
573	572	574	ICV O-rings 3, filtered	small	09/19/19 18:13	10/01/19 17:20	10/01/19 22:02	09/28/19 18:28	10/11/19 1:47	Nic	Emanation VII, p105	10.4 +/- 0.5 mBq from 214Po if usual collection efficiency (218Po was 2x lower)
576	575	578	ICV w/ full TPC 1	portable	10/17/19 0:00	10/25/19 12:30	10/27/19 20:20	10/18/19 14:29	11/4/19 17:45	Nic
577	575	578	ICV w/ full TPC + pylon 1	small	0	11/01/19 21:15	11/02/19 12:55	10/18/19 14:29	11/4/19 17:45	Nic
579	575 (578?)	581	ICV w/ full TPC 2	portable	10/17/19 0:00	11/05/19 14:00	11/08/19 18:30	10/18/19 14:29	11/22/19 17:20	Nic
580	578	581	ICV w/ full TPC + pylon 2	small	0	11/18/19 16:30	11/18/19 20:44	11/4/19 17:45	11/22/19 17:20	Nic
583	582	584	Michigan RRS parts 1	large,1 stand level	11/08/19 14:05	11/27/19 13:20	11/27/19 20:05	11/25/19 10:43	12/2/19 15:33	was Nic
587	586	588	Michigan RRS parts 2	large,1 stand level	12/04/19 17:40	12/19/19 12:05	12/19/19 20:00	12/13/19 14:12	12/30/19 13:37	was Nic
589	588	590	Anti-radon barrier 1 (same as film)	small	12/20/19 17:30	01/03/20 15:00	01/03/20 15:55	12/30/19 13:37	01/14/20 14:15			0.2 +/- 0.2 mBq each run
591	590	592	Anti-radon barrier 2	small	01/06/20 11:30	01/22/20 13:00	1/22/20 15:25	01/14/20 14:15	1/28/20 11:35			0.2 +/- 0.2 mBq each run
593	592	0 (594?)	LEC blank w/stand (one level)	large 1 stand	01/13/20 17:20	01/30/20 13:00	1/30/20 22:05	1/28/20 11:35	2/4/20 16:00	Seth
595	592 (594?)	0 (597?)	Pylon transfer test part 1	small	0	02/07/20 15:10	02/08/20 8:35	2/4/20 16:00	02/14/20 16:00	Nic (part of OCV)
596	?	597	Pylon transfer test part 2	none	0	02/07/20 15:10	02/11/19 13:25	???	02/14/20 16:00	Nic (part of OCV)		run started ~13:15 2/11
598	597	599	Activated carbon (approx. 500g) 1	large,1 stand level	02/05/20 16:06	02/20/20 10:30	02/20/20 20:14	02/14/20 16:00	02/24/20 14:55	Kellen	Emanation VII, p115; Emanation VIII, p002
600	599	601	Ti welding wire 1	small	02/12/20 13:15	02/27/20 13:40	02/27/20 15:30	02/24/20 14:55	03/04/20 12:50	Kellen	End of VII/ Start of VIII	initial bkg run rate is high, w/o it the prelim em rate is 0.54 mBq (214 and 218 rate are the same). CPD of 210 lower on sample run by ~10 (70 cpd vs 80-ish cpd)
602	601	603	Activated carbon (approx. 500g) 2	large,1 stand level	02/21/20 16:35	03/06/20 12:52	03/06/20 20:50	03/04/20 12:50	03/10/20 13:21	Kellen	Emanation VIII, p002 & p006	Clog in small trap - transfered what we could, possible sample lost
604	603	605	Ti welding wire 2	small		03/12/20 15:12	03/12/20 16:37	03/10/20 13:21	03/17/20 10:10	Kellen
			Activated carbon (approx. 500g) 3	large,1 stand level	03/10/20 15:39	03/24/20 11:49					p007 & p009	Small trap clog, transfer aborted, began backgorund run 606 instead. Start of fourth emanation at ~160 torr
607	606	608	Small chamber blank w/ mesh	small	03/17/20 12:50	04/01/20 12:30	04/01/20 14:30	03/24/20 18:50	04/09/20 11:54		p009 &p011
609	608	610	Activated carbon (approx. 500g) 3	large,1 stand level	03/24/20 18:00	04/15/20 11:55	04/15/20 19:45	04/09/20 11:54	04/19/20 21:05	Kellen	p010 & p013	Aborted transfer on 3/24 was effectivly the start of emanation (w/ LEC at ~200 torr)
611	610	612	Small chamber blank w/ mesh 2	small	04/01/20 15:27	04/23/20 12:48	04/23/20 14:25	04/19/20 21:05	05/01/20 9:46
613	612	614	Activated carbon (approx. 500g) 4	large,1 stand level	04/15/20 19:20	05/07/20 11:45	05/07/20 19:55	05/01/20 9:46	05/20/20 12:47	Kellen		End of third transfer was, effectivly, the start of fourth emanation; LEC not "reset"; LEC pressure ~160 torr
615	614	0	Activated carbon (approx. 500g) 5	large,1 stand level	05/07/20 19:40	05/21/20 12:23	05/21/20 20:55	05/20/20 12:47	????	Kellen		Bkg run 616 is practially unusable
617	0	618	LEC transfer eff. test pt I	large	0	06/04/20 15:00	06/04/20 22:00	????	06/12/20 14:15			Added Rn to LEC from 12:45 to 12:48 on 6/4/2020; P = 93 mTorr to 19.2 Torr then cut Rn to ~105 mBq before transfer
619	618	620	LEC transfer eff. test pt II	large	0	06/17/20 12:40	06/17/20 20:57	06/12/20 14:15	06/17/20 10:30		p26	Detection chamber to LEC (bkg run) to detection chamber efficency test
621	620	622	SEC blank (w/ mesh screen)	small	04/23/20 14:07	07/01/20 14:21	07/01/20 15:39	06/17/20 10:30	07/09/20 14:45		p28	Emanation at ~30 Torr
623	622	624	NOVA shield sample (Type I/bismuth)	small	07/06/20 17:45	07/16/20 16:10	07/16/20 17:55	07/09/20 14:45	07/22/20 15:31	Nic November 2021
625	624	626	NOVA shield sample (Type I/bismuth) 2	small	07/16/20 17:55	07/30/20 13:25	07/30/20 15:15	07/22/20 15:31	08/05/20 16:20	Nic November 2021
627	626	628	NOVA shield sample (Type I/bismuth) 3	small	07/30/20 15:00	08/13/20 17:27	08/13/20 19:13	08/05/20 16:20	08/20/20 11:05	Nic November 2021
629	628	630	LEC Blank	large	06/17/20 20:27	08/26/20 14:00	08/26/20 21:45	08/20/20 11:05	09/02/20 13:55	Seth	p37
631	630	632	SuperCDMS (10) 8" silicone gaskets 1	small	08/27/20 19:30	09/09/20 12:11	09/09/20 14:35	09/02/20 13:55	09/18/20 16:12	Nic	p38 VIII	Detector appears to not be working and no useful data was aquired
634	633	635	SuperCDMS (10) 8" silicone gaskets 2	small	09/09/20 14:05	10/02/20 14:15	10/02/20 16:10	09/24/20 15:22	10/09/20 14:34	Nic		Cannot be certian that a fraction of the sample was not lost. There was no flow when the transfer of the sample from the large BW trap to the small BW trap. Small trap (cold) wasIsolated and removed small trap from LN, allowed it to warm and then recooled trap. Transfer was successful after this but it is very likely a portion of the sample was lost to 1) Rn in the warm section of plumbing on the backside of the small trap and 2) to breakthrough in Rn now closer to the end of the trap.
636	635	637	SuperCDMS (10) 8" silicone gaskets 3	small	10/02/20 16:05	10/13/20 17:50	10/13/20 19:51	10/09/20 14:34	10/21/20 15:55	Nic		Energy resloution not the best and this run has a higher emanation rate compared to emanation #2 (which should not be the case).
638	637	639	LZ tubing 1	small	10/28/20 10:56	11/05/20 13:15	11/05/20 15:05	10/21/20 15:55	11/11/20 15:00	Ryott
640	639	641	LZ tubing 2	small	11/05/20 14:48	11/20/20 13:45	11/20/20 15:30	11/11/20 15:00	11/25/20 16:50	Ryott
642	641	643	LZ tubing 3	small	11/20/20 15:15	12/04/20 17:00	12/04/20 18:40	11/25/20 16:50	12/11/20 19:05	Ryott
644	643	645	LZ Th228 Source 1	small	See Rn220 notes	12/11/20 16:57	12/18/20 10:23	12/11/20 19:05	12/19/20 15:25	10/14/21 Nic		Can't be certian that we did not lose a portion of the sample. User error: Nic thought sm trap clogged b/c there was no flow after opening V10, but he didn't open valve directly above scroll pump.
646	645	647	LZ Th228 Source 2	small	12/11/20 16:55	12/18/20 10:43	12/20/20 14:49	12/19/20 15:25	12/29/20 18:25	10/14/21 Nic
648	647	651	LZ Th228 Source 3	small	12/18/20 10:43	01/05/21 18:30	01/08/21 17:35	12/29/20 18:25	02/10/21 15:17	10/14/21 Nic
652	651	654	SuperCDMS (1) 8" silicone gasket 1	small	02/10/21 15:15	02/23/21 16:02	02/25/21 13:55	02/10/21 15:17	03/10/21 10:42
656	655	657	SuperCDMS (1) 8" silicone gasket 2	small	02/23/21 17:13	03/19/21 16:45	03/19/21 18:35	03/16/21 16:55	03/26/21 16:48
658	657	659	SuperCDMS (1) 8" silicone gasket 3	small	03/19/21 18:12	03/30/21 14:30	03/30/21 16:05	03/26/21 16:48	04/13/21 16:10
660	659	661	SuperCDMS (1) 8" silicone gasket 4	small	03/30/21 15:50	04/16/21 17:22	04/16/21 18:52	04/13/21 16:10	04/30/21 17:32
663	662	665	SuperCDMS (2) 8" silicone gaskets 1	small	04/29/21 15:37	05/18/21 13:50	05/18/21 15:35	05/13/21 13:10	06/08/21 15:25
666	665	667	SuperCDMS (2) 8" silicone gaskets 2	small	05/18/21 15:15	06/15/21 15:57	06/15/21 17:45	06/08/21 15:25	06/24/21 15:20
668	667	670	SEC blank (w/ mesh screen)	small	07/02/21 15:00	07/08/21 15:35	07/08/21 17:10	06/24/21 15:20	07/29/21 14:45			Swapped KJL pressure gauge (1.33" CF) with a similar gauge w/ better display (old gauge will be mounted to the top flange of the cold emanation, vessel inside the external LN dewar) when sample was removed. Decided to perform a blank run to be sure the new gauge does not increase the background rate of the SEC before proceeding with other Rn assays.
671	670	672	SuperCDMS (3) 8" silicone gaskets 1	small	07/29/21 15:05	08/06/21 14:50	08/06/21 16:30	07/29/21 14:45	08/12/21 13:42
673	672	674	SuperCDMS (3) 8" silicone gaskets 2	small	08/06/21 16:20	08/20/21 14:15	08/20/21 15:50	08/12/21 13:42	08/27/21 14:00
675	674	676	SuperCDMS (3) 8" silicone gaskets 3	small	08/20/21 15:35	09/01/21 17:40	09/01/21 19:20	08/27/21 14:00	09/09/21 13:35
677	676	678	SuperCDMS (3) 8" silicone gaskets 4	small	09/01/21 19:07	09/17/21 14:53	09/17/21 16:30	09/09/21 13:35	10/01/21 13:20
679	678	680	Nova Shield w/ Tungsten 1	small	09/28/21 16:41	10/21/21 12:50	10/21/21 15:15	10/01/21 13:20	10/29/21 15:20	Nic; Ryott
681	680	682	Nova Shield w/ Tungsten 2	small	10/21/21 14:57	11/08/21 16:34	11/08/21 18:00	10/29/21 15:20	11/17/21 11:52	Ryott
683	682	684	SEC Blank	small	11/22/21 12:17	12/16/21 12:25	12/16/21 13:52	11/17/21 11:52	01/04/22 13:33
685	684		SEC Blank	small	12/16/21 13:30	01/13/22 14:15	01/13/22 15:22	01/04/22 13:33			End Logboox VIII
687	N/A	N/A	Filtered Background Run 687	N/A	N/A	N/A	06/27/2022 14:28	N/A	N/A		Start Logbook IX
			Large Trap BT Test @ LN	N/A	N/A	N/A	06/28/2022	N/A	N/A
688	N/A	N/A	Filtered Background Run 688	N/A	N/A	N/A	07/05/2022 18:40	N/A	N/A
			Large Trap BT Test @ LN	N/A	N/A	N/A	07/07/2022	N/A	N/A
689	N/A	N/A	Filtered Background Run 689	N/A	N/A	N/A	08/25/2022 12:46	N/A	N/A
690	N/A	N/A	Filtered Background Run 690	N/A	N/A	N/A	09/02/2022 10:41	N/A	N/A
691	N/A	N/A	Filtered Background Run 691	N/A	N/A	N/A	09/09/2022 15:09	N/A	N/A
692	N/A	N/A	Filtered Background Run 692	N/A	N/A	N/A	09/30/2022 16:19	N/A	N/A
693	N/A	N/A	Filtered Background Run 693	N/A	N/A	N/A	10/18/2022 11:43	N/A	N/A
			P2 Gauge Installation/Leak Check	N/A	N/A	N/A		N/A	N/A
694	N/A	N/A	Filtered Background Run 694	N/A	N/A	N/A	11/02/2022 11:05	N/A	N/A
695	N/A	N/A	Filtered Background Run 695	N/A	N/A	N/A	11/15/2022 10:06	N/A	N/A
696	N/A	N/A	Filtered Background Run 696	N/A	N/A	N/A	11/23/2022 15:42	N/A	N/A
697	N/A	N/A	Filtered Background Run 697	N/A	N/A	N/A	12/6/2022 13:01	N/A	N/A
698	N/A	N/A	Filtered Background Run 698	N/A	N/A	N/A	12/07/2022 16:40	N/A	N/A
699	N/A	N/A	Filtered Background Run 699	N/A	N/A	N/A	12/16/2022 15:10	N/A	N/A
			LEC Pressure Gauge	N/A	N/A	N/A	01/18/2023 13:28	N/A	N/A
			Zero LEC/SEC Pressure Gauge	N/A	N/A	N/A	01/19/2023 15:11	N/A	N/A
			Continue LEC Rinse	N/A	N/A	N/A	01/20/2023 10:08	N/A	N/A
700	N/A	N/A	LEC Blank, emanated at ~3.05 Torr	large	1/23/2023 17:43	01/24/2023 13:26	01/24/2023 20:21	N/A	N/A			Richard trained James on the transfer
701	N/A	N/A	LEC Blank, Low Pressure 9.7 mTorr	large	1/30/23 10:21	02/10/23 10:43	02/10/2023 18:00	N/A	N/A
702	N/A	N/A	LEC Blank, Low Pressure 9.40 mTorr	large	2/11/2023 10:30	02/24/2023 9:25	02/24/2023 17:03	N/A	N/A
703	N/A	N/A	LEC Blank, Low Pressure 9.40 mTorr	large	2/12/2023 10:30	02/24/2023 9:25	03/03/2023 10:35	N/A	N/A
704	N/A	N/A	LEC Blank, Low Pressure 18.0 mTorr	large	2/27/2023 12:26	03/10/2023 12:54	03/10/2023 21:02	N/A	N/A
705	N/A	N/A	LEC Blank, High Pressure 100 Torr	large	03/10/2023 21:07	04/06/2023 12:27	04/06/2023 19:07	N/A	N/A			huge gain variations, maybe useable
706	N/A	N/A	LEC Blank w/ LN2 Boil-off gas, 2000V filter box, 8.0 mTorr	large	04/06/2023 14:04	04/13/2023 10:39	04/13/2023 17:42	N/A	N/A
707	N/A	N/A	LEC Blank w/ LN2 Boil-off gas, 600 V filter box, same emanation	large	04/06/2023 14:04	04/14/2023 10:39	04/20/2023 11:45	N/A	N/A			600 V filter box not covered with aluminum foil, useless
708	N/A	N/A	LEC Blank w/ LN2 Boil-off gas, 2000V filter box, same emanation	large	04/06/2023 14:04	04/14/2023 10:39	04/20/2023 15:35	N/A	N/A
709	N/A	N/A	LEC Blank w/ LN2 Boil-off gas, 600V filter box, same emanation	large	04/06/2023 14:04	04/25/2023 10:39	04/27/2023 7:09	N/A	N/A			600 V filter box covered with aluminum foil
710	N/A	N/A	LEC Blank, Low Pressure 7.70 mTorr 600V filter box	large	04/17/2023 12:08	05/03/2023 9:32	05/03/2023 15:32	N/A	N/A			huge noise over short time, useless (intermittent connection in filter box?)
711	N/A	N/A	LEC Blank, Low Pressure 7.70 mTorr 2000V filter box	large	04/17/2023 12:08	05/03/2023 9:32	05/03/2023 18:45	N/A	N/A
712	N/A	N/A	LEC Blank, Low Pressure 7.70 mTorr 2000V filter box	large	04/17/2023 12:08	05/03/2023 9:32	05/08/2023 16:12	N/A	N/A			Continuation of run 711 as power to the detector and computer was cut during the changing of the HEPA filter
713	N/A	N/A	LEC Blank, High Pressure 100 Torr 2000V filter box	large	05/03/2023 17:46	05/18/2023 10:25	05/18/2023 19:16	N/A	N/A
714	N/A	N/A	LEC Blank, High Pressure 100 Torr 600V filter box	large	05/03/2023 17:46	05/18/2023 10:25	05/25/2023 9:34	N/A	N/A			Continuation of run 713, but switched the filter boxes so the detector runs as 600V

## 124-399
Run	Pre-bkg	Post-bkg	Sample name	Em. chamber	Em. start	Transfer start	Report completed or in progress by	More Info (Logbook #, p###)	Notes
399	398	402	Second EPDM Gasket Transfer	small	01/31/18 11:53	02/08/18 13:16
397	396	398	EPDM	small	01/24/18 13:49	01/31/18 10:30
392	391	393	Fourth PMT Stand Transfer	large	01/10/18 21:50	01/17/18 9:58
390	389	391	Third PMT Stand Transfer	large	01/03/18 20:51	01/10/18 13:43
388	387	389	PMT Stand Two	large	12/27/17 20:57	01/03/18 13:06
386	385	387	PMT Stand One	large	12/18/17 16:37	12/27/17 14:17
382.384	0	0	Samplename	small	0	7.3704967e+05-0.2			BAD
380	379	381	Third PMT Transfer	large w stand	12/05/17 17:32	12/12/17 11:48
378	377	379	Second PMT Transfer	Large w stand	11/28/17 21:04	12/05/17 10:47
376	375	377	First PMT Transfer	large w stand	11/21/17 14:53	11/28/17 14:38
373	372	374	Second Kapton Transfer	large	11/06/17 22:37	11/13/17 10:02
371	370	372	First Kapton Transfer	large	10/24/17 13:32	11/06/17 14:53
369	0	0	Transfer Efficiency	small	0	7.3699966e+05-0.2			BAD
367	366	368	Second Silicone	small	10/04/17 12:07	10/18/17 11:36
365	364	366	Third Heat Exchanger Transfer	large	09/27/17 19:58	10/12/17 12:18			Run365_HeatEx3			<<<< Same data different files
365	364	366	Third Heat Exchanger Transfer	large	09/27/17 19:58	10/12/17 12:18			Run365_HeatEx3_ungroundedRemoved
363	362	364	First Silicone	small	09/26/17 18:34	10/04/17 10:44
361	0	362	Second Heat Exchanger Transfer	large	08/29/17 19:40	09/27/17 11:33			and i quote, "%%% !if you're not me you'll want to pay attention to the setup section and / %%% update the folders accordingly. It's unconventional, so that it's / %%% easier to keep track of all three options."
359	358	360	Butyl 2	small	08/22/17 12:46	09/20/17 14:04
358	358	358	sample name	chamber size	00/00/17 00:00	00/00/17 00:00			BAD - i think
352	351	353	Heat Exchanger First	large	08/18/17 20:48	08/29/17 10:15
350	349	351	First Butyl Transfer	small	07/26/17 16:21	08/22/17 11:35			Run350_Butyl1_redo
350	349	351	First Butyl Transfer	small	07/26/17 16:21	08/22/17 11:35			Run350_Butyl1_100torr
350	349	351	Butyl 1	small	07/26/17 16:21	08/22/17 11:35			Run350_Butyl_RedoSept2018
348	347	349	Second LUX Cable Emanation	large	08/02/17 19:08	08/11/17 10:16
346	345	347	First LUX Cable Emanation	large	07/20/17 17:55	08/02/17 10:00
344	343	345	Fourth Emanation PEEK Connectors	small	06/30/17 14:31	07/24/17 14:25
342	341	343	Fourth LEC Blank Rate	large	07/07/17 22:00	07/14/17 12:00
340	339	341	Blank Rate 3, Carbon trap issue	large	06/29/17 14:00	07/07/17 12:18
338	337	339	Third PEEK Connector Transfer	small	06/13/17 14:45	06/30/17 13:22
327	326	328	PEEK Connectors 1	small	05/09/17 14:58	05/18/17 13:42
325	324	326	LEC Blank Rate	large	04/28/17 11:12	05/10/17 10:01
321	320	322	Third Tivar Transfer	small	04/13/17 13:46	04/26/17 12:18
319	318	320	Umbilical Fourth Emanation	large	04/07/17 18:10	04/20/17 9:19
317	316	318	Second Tivar Transfer	small	03/28/17 10:30	04/14/17 12:40
315	314	316	Umbilical Third Emanation	large	03/17/17 16:09	04/07/17 11:04
309	308	310	First Tivar Transfer	small	03/16/17 11:40	03/28/17 9:35
306	305	307	Umbilical Second Emanation	large	03/03/17 17:50	03/17/17 9:32
304	303	305	Rn Monitor Feedthrough	small	03/09/17 9:16	03/14/17 9:21
298	297		Feedthroughs 3	small	02/02/17 15:22	02/22/17 15:32			bckRunNumber = 297; %background run number				that is the only bckRun in the file
293	292	294	3rd Cable Transfer	large	01/27/17 16:40	02/07/17 9:32
291	290		Feedthroughs 2	small	01/20/17 16:05	02/02/17 14:30			bckRunNumber = 290; %background run number				that is the only bckRun in the file
289	288	290	Second Cable Transfer	large	01/13/17 17:47	01/27/17 10:15
287	286		Feedthroughs 1	small	01/12/17 14:59	01/20/17 13:30			same as ^^^
282			Calibration Detector 3	small					missing even more
281			Calibration with PEEK	small
279	278	278	PEEK	small	12/22/16 15:50	12/29/16 11:45			"bckRunNumber = 278; %278.1; %background run number" and "bckRunNumber_postTran = 0; %278.2; %re-using pre background because post background is junk"
276	275	277	Second PEEK	small	12/14/16 11:59	12/20/16 15:57
274	273	275	Second Al Transfer	large	12/02/16 16:09	12/15/16 9:27
272	271	0	PEEK 1	small	11/23/16 12:55	12/08/16 12:00			%We are using run 271 for both pre and post background measurements because / %we changed from detector 2 to detector 3 between runs 272 and 273. Therefore the background / %potrayed in run 273 should not be used here
270	269	271	First Al Transfer	large	11/12/16 10:26	12/02/16 10:12
268									%This script is meant to serve as a template to analyize data from the / %radon emanation system. There is no data to be analyized within it. To / %analize data from the radon emanation system, copy the text below and / %update the blockS of code labled "DIRECTORIES AND STARTUP" and / %"RUN INFORMATION".
262	0		sample name	large	05/09/16 16:30	05/19/16 13:47			same message as ^^^
261	260		sample name	chamber size	05/09/16 16:30	05/19/16 13:47			^^^
260	259	261	Blank Rate 1 LEC	large	10/05/16 11:40	10/31/16 10:45
255			Calibration Detector 3	small					Wierd
250	248	251	Sixth Teflon Transfer	large	09/16/16 14:43	09/30/16 11:09			"bckRunNumber_postTran = 251; %253; 251 actually was a background oops %Run number of background measurment done after the transfer / "
246	244	248	Loud background w backrounds	large	0	7.3659469e+05-0.2			Has different usage instructions along with wierd data
245	244	248	Fifth Teflon Transfer	large	09/07/16 13:30	09/16/16 9:48			Run245_Teflon5
245	244	246	Fifth Teflon Transfer, orig bground	large	09/07/16 13:30	09/16/16 9:48			Run245_Teflon5_originalbkgrnd
									Run239_HOTbackground
238	237		First Sprinkler Transfer	small	08/07/16 12:28	08/26/16 11:31			bckRunNumber = 237; %background run number			that is the only bckRun in the file
	236		Noise Analysis		08/15/16 12:28	08/22/16 11:40			%special notes about this run. Electritions installed some stuff, and we / %want to see what it did to our noise level
235	234	236	Third Teflon Transfer	large	06/07/16 16:00	07/19/16 10:24
231	230	232	EPDM Second Transfer	small	06/17/16 10:20	07/01/16 12:34
229			Background with Gain Drift	small	06/22/16 11:06				Wierd
223	222	224	Second Teflon Transfer	large	05/25/16 16:56	06/07/16 11:12			bckRunNumber = 220; %background run number			that is the only bckRun in the file
221	220		Second Umbilical Transfer	small	05/24/16 17:00	06/01/16 13:05
219	218	220	First Teflon Transfer	large	05/06/16 17:00	05/25/16 11:48
217	216		First Umbilical Transfer	small	05/09/16 16:30	05/19/16 13:47			bckRunNumber = 216; %background run number			that is the only bckRun in the file
201	199	202	Santoprene	small	04/04/16 12:00	04/08/16 14:24			wierd usage instructions
191	190	0	Rubber Calibration Source	large	03/10/16 13:11	03/17/16 9:40			wierd usage instructions
186	185	187	Rubber Calibration Source	small	02/23/16 14:10	02/26/16 11:31			wierd usage instructions
184	183	185	Rubber Calibration Source	small	02/15/16 16:45	02/19/16 11:20			wierd usage instructions
									Run142and124_DetectorEfficiencyVsTime
142	0	0	DetectionEffvsTime	none	0	7.3623871e+05-0.00001+1.074			wierd
124	0	0	Efficiency vs Time	none	0	7.3614648e+05 -0.00001			wierd usage instructions		transStart = 7.3614648e+05 -0.00001; %datenum('06/29/15 13:00', formatin); %time flow-through on transfer starts. Also marks the end of emanation

## Detector swap history
Run	Detector	Material	Start Emanation	Transfer Date	Notes
221	2	Umbilical Cable	24-May	1-Jun
222	2	N2 Background	NA	8-Jun
223	2	Teflon2	25-May	7-Jun
224	2	N2 Background	NA	13-Jun	Seemed noisy - probably do to malfunctioning AC
225	2	N2 Background	NA	14-Jun
226	2	EPDM	6-Jun	15-Jun
Leak Checking Carbon Trap				20-Jun
227	2	Flow Through Test	NA	20-Jun	spilled water on floor near detector. Were using water to heat trap because heat gun broken. Found SHV for bias was unconnected 2nd day after transfer
Pulsery Tests				21-Jun
228	2	N2 Background	NA	21-Jun	gain drift starts? - switched preamp?
229	2	N2 Background	NA	22-Jun	return to original pre amp
230	2	N2 Background	NA	28-Jun
231	2	EPDM	16-Jun	1-Jul	did not use carbon trap
Opened Chamber to switch to detector 1				11-Jul	Nothing visibly wrong with detector
232	1	N2 Background	NA	12-Jul
233	1	EPDM	1-Jul	13-Jul
Switched back to 2 after cleaning contact				15-Jul
234	2	N2 Background	NA	15-Jul	through Carbon trap
235	2	Teflon3	7-Jun	19-Jul	bad gain drift
Carbon Trap Regeneration Test				8-Aug
236	2	N2 Background	NA	15-Aug
Switched back to 1				23-Aug
237	1	N2 Background	NA
238	1	SURF Sprinkler	7-Aug	26-Aug
239	1	N2 Background	NA	30-Aug	saw large peaks in all ROIs. Trap not cooled, but fill and flush not through carbon trap…
240	1	N2 Background	NA	1-Sep	Carbon Trap cooled with ice water - background still high- trap not purged but new N2
241	1	N2 Background	NA	2-Sep	Carbon Trap cooled with ice water. Trap purged. Background Normal?
242	1	Teflon 4			Lost sample because V4 open
243	1	N2 Background	NA	7-Sep	Very long background run
244	1	N2 Background	NA	14-Sep
245	1	Teflon5	9-Sep	16-Sep
246	1	N2 Background	NA	22-Sep
247	1	SEC Blank Rate	8-Sep	22-Sep
248	1	N2 Background	NA	26-Sep
249	1	LUX turned background…	NA	27-Sep
250	1	Teflon 6	16-Sep	30-Sep
251	1	N2 Background	NA	5-Oct
252	1	SEC Blank Rate	27-Sep	7-Oct	No real notes on when emanation started. Last notes are on using SEC for LUX transfer
253	1	N2 Background	NA	12-Oct	Noise problems. Missing 210 Po
Install 3 and drill hole in Teflon case				17-Oct
254	3	N2 Background	NA	18-Oct
255	3	Calibration/Doping Run	NA	19-Oct
256	3	N2 Background	NA	20-Oct	Background to monitor if system background is sufficiently low
257	3	N2 Background	NA	24-Oct	Background to monitor if system background is sufficiently low
258	3	N2 Background	NA	25-Oct	Background to monitor if system background is sufficiently low
259	3	N2 Background	NA	28-Oct	Normal backgrounds
260	3	Large Chamber Blank Rate	5-Oct	31-Oct
261	3	N2 Background	NA	4-Nov	Long Background
262	3	Blank Rate LEC	1-Nov	9-Nov	Detector stopped taking data mid-way through run
263	3	Blank Rate LEC continued	NA	16-Nov	test to see if detector is working after trouble shooting system
264	3	Blank Rate SEC	7-Nov	17-Nov

## Syracuse 1-100ish
Run	Pre-bkg	Post-bkg	Sample name	Em. chamber	Em. start	Transfer start	Data start	Report completed or in progress by	More Info (Logbook #, p###)	Notes
1			Calibration of Rn-Em system electrostatic detector				11/02/12 13:00
2			Slowly turn voltage from 0 - 4 kV and observe ocillicope pulses				11/02/12		LB 1, p18
3			Background run				30/05/13		LB 1, p19
4			Sub-basement background run				5/30/13 17:00		LB 1, p19
5			Sub-basement air				5/30/2013		LB 1, p19
6			Sub-basement air at ~1 atm				5/31/13 10:20		LB 1, p23
7			Sub-basement air at ~1 atm (again)				5/31/13 17:30		LB 1, p23
8			???				06/03/13 15:10		LB 1, p24
9			Sub-basement, filered lab air at ~1 atm				6/10/13 11:00		LB 1, p25
10			Lab air (at ~1 atm) w/ x1100 amp gain				6/10/13 15:15		LB 1, p26
11			Sub-basement lab air (at ~1 atm) w/ x400 amp gain				6/10/13		LB 1, p27
12			Lab air at ~1 atm w/ 12.5 x 100 amp gain				6/10/13 18:00		LB 1, p28
13			Lab air at ~1 atm w/ max amp gain (≥ 12.5 x 100)				6/10/13 19:45		LB 1, p29
14			Sub-basement filtered air				6/17/13		LB 1, p30
15							6/18/13 17:50		LB 1, p33
16			Chamber filled with clean air				6/19/13 11:54		LB 1, p34
17			Chamber filled with clean air ~ 760 Torr				6/19/13 15:55		LB 1, p36
18							6/20/13 12:42		LB 1, p37
19			Sub-basement air @ ~ 1 atm				6/21/13		LB 1, p39
20			Sub-basement air @ ~ 1 atm				6/22/13 16:30
21
22			Sub-basement lab air				6/23/13 14:00
23			Sub-basement air				6/24/13
24			Sub-basement air				6/24/13 15:00
25			Sub-basement lab air @ ~ 1 atm				6/25/13 17:55
26			Sub-basement lab air @ ~ 1 atm				6/26/13 9:00
27			Sub-basement lab air @ ~ 1 atm				6/26/13 12:03
28a			Sub-basement lab air @ ~ 1 atm				10/24/13 18:30
28b			Sub-basement lab air @ ~ 1 atm				10/25/13 8:50
28c			Sub-basement lab air @ ~ 1 atm				10/26/13
28d			Sub-basement lab air @ ~ 1 atm				10/27/13
28e			Sub-basement lab air @ ~ 1 atm				10/28/13
28f			Sub-basement lab air @ ~ 1 atm				10/28/13 15:00
28g			Sub-basement lab air @ ~ 1 atm
29			Background run				10/31/13
30			Nitrogen				11/04/13
31			Mid-Low pressure CR air				11/11/13
32			Lab air @ 1 atm				11/13/13 17:15
33			CR air				11/15/13
34			?????				11/18/13
35			Post-Braiding Test(Air Sample from Run 33)				11/20/13
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60									LB 2, p3
61			Lab air						LB 2, p4
62			Tail pulse tests and pre-amp readout chain						LB 2, p7
63			Lab air at 1 atm						LB 2, p9
64			Lab air sample						LB 2, p13
65			Nitrogen background run						LB 2, p14
66			Continuation of Run 65 reducing the pressure						LB 2, p20
67			Lab air sample						LB 2, p23
68			Boiled-off nitrogen						LB 2, p20
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101